## Slide 1
Jubilant Foodworks Ltd (JFL)
Proactive Monthly Business Review
Reporting Period: 10 April 2026 – 10 May 2026
Prepared by: Proactive Data Systems Pvt. Ltd.
Classification: CONFIDENTIAL
Generated: 1 October 2026
www.proactive.co.in | Proactive Data Systems Pvt. Ltd.

## Slide 2
EXECUTIVE SUMMARY — ALL SITES
Consolidated SLA Performance & RCA Driver Summary Across Monitored Sites
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 2
Oct 2026
Site | No of devices | Proactive Switch Uptime | JFL Switch Uptime | Primary RCA Driver (Switches) | AP Incidents (Unique) | Primary RCA Driver (AP)
Bangalore | 182 | 99.71 | 97.69 | Device Power Issues | 8 / 7 | Device Power Issues
Greater Noida | 113 | 99.99 | 98.71 | Device Power Issues | 5 / 3 | Device Power Issues
Guwahati | 5 | 99.99 | 98.94 | Device Power Issues | 2 / 2 | Device Power Issues
Hyderabad | 16 | 100.00 | 100.00 | Stable Operations (No Incidents) | 0 / 0 | Stable Operations (No Incidents)
Mohali | 19 | 99.65 | 99.33 | Stable Operations (No Incidents) | 3 / 2 | Device Power Issues
Mumbai | 8 | 100.00 | 100.00 | Stable Operations (No Incidents) | 0 / 0 | Stable Operations (No Incidents)
Nagpur | 10 | 99.96 | 96.77 | Third Party Device issue | 0 / 0 | Stable Operations (No Incidents)
Noida | 81 | 100.00 | 100.00 | Stable Operations (No Incidents) | 0 / 0 | Stable Operations (No Incidents)
AI Insights
• Top sites by JFL Switch Uptime: Hyderabad (100.00%), Mumbai (100.00%), Noida (100.00%).
• Bottom sites by JFL Switch Uptime: Nagpur (96.77% BREACH), Bangalore (97.69% BREACH), Greater Noida (98.71% BREACH).
• Largest RCA driver across all sites: Device Power Issues (26 incidents).
• Highest AP incident density: Guwahati (0.40 incidents per device).
This review consolidates SLA performance, rack and switch uptime, and access-point incident RCA for all 8 monitored JFL sites for the period 10 April 2026 – 10 May 2026.

## Slide 3
EXECUTIVE SUMMARY
Jubilant Foodworks Ltd (JFL) · 10 April 2026 – 10 May 2026 · Quarterly Business Review
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 3
Oct 2026
8
Total Sites
434
Active Devices
151
Total Switches
277
Access Points
98.80%
Overall Uptime
33
Total Incidents
94.70%
Incident-Free %
80.18%
SLA Compliance
AI Executive Summary — 10 April 2026 – 10 May 2026
• Overall network uptime was 98.80%, marginally below the 99.9% SLA target, requiring corrective action.
• A total of 33 incidents were recorded, with Bangalore contributing the highest volume (17 incidents), primarily driven by Device Power Issues.
• Hyderabad achieved the strongest health score while Guwahati reported the lowest at 75.48.
TOP ROOT CAUSE ANALYSIS DRIVERS
Device Power Issues
78.8% (26)
Third Party Device issue
9.1% (3)
New Configuration
6.1% (2)
Others
3.0% (1)

## Slide 4
OVERALL NETWORK HEALTH
Infrastructure Health Assessment Across All Monitored Sites
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 4
Oct 2026
OVERALL
HEALTH SCORE
97.2
EXCELLENT
98.80%
Switch Uptime
94.70%
Incident-Free %
80.18%
SLA Compliance
33
Total Incidents
SITE HEALTH SCORES
Bangalore
96.5
Excellent
Greater Noida
97.2
Excellent
Guwahati
75.5
Fair
Hyderabad
100.0
Excellent
Mohali
94.8
Good
Mumbai
100.0
Excellent
Nagpur
94.9
Good
Noida
100.0
Excellent

## Slide 5
INVENTORY SUMMARY
Active Production Devices vs. Stock Inventory — SLA Exclusion Analysis
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 5
Oct 2026
434
Total Devices
434
Active (In-SLA)
0
Stock (Excl. SLA)
100.0%
SLA Coverage
STOCK INVENTORY BY SITE — EXCLUDED FROM SLA CALCULATIONS
No stock inventory devices registered in this reporting period.
Inventory Insight
• Total monitored device estate: 434 devices across 8 sites.
• 434 devices (100.0%) are production-active and subject to SLA accountability.
• 0 stock/spare devices are excluded from SLA penalty calculations per operational specification.

## Slide 6
INCIDENT OVERVIEW
Total Incident Volume, Site Distribution & Category Breakdown
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 6
Oct 2026
33
Total Incidents
0
Open
33
Closed/Resolved
0
Critical (P1)
INCIDENTS BY SITE
Chart: 
| Bangalore | Greater No | Guwahati | Hyderabad | Mohali | Mumbai | Nagpur | Noida
Incidents | 17 | 7 | 3 | 0 | 3 | 0 | 3 | 0
INCIDENTS BY PRIORITY BREAKDOWN
Chart: 
| P1 Critical | P2 Major | P3/P4 Standard
Priority Distribution | 0.001 | 0.001 | 33
Incident Overview — Key Findings
• 33 total incidents were recorded during the reporting period.
• Bangalore contributed the highest incident volume with 17 incidents.
• 33 incidents (100.0%) were resolved and closed.

## Slide 7
ROOT CAUSE ANALYSIS — PARETO
Top Incident Drivers by Frequency & Cumulative Percentage
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 7
Oct 2026
Chart: 
RCA FREQUENCY TABLE
Root Cause | Count | %
Device Power Issues | 26 | 78.8%
Third Party Device issue | 3 | 9.1%
New Configuration | 2 | 6.1%
Others | 1 | 3.0%
Client Side Activity | 1 | 3.0%
REMEDIATION RECOMMENDATIONS
High
Device Power Issues: Inspect and replace faulty UPS/power infrastructure. Schedule preventive power audits.
30 days
Medium
Third Party Device issue: Schedule hardware audit. Identify end-of-life devices for replacement.
60 days
Medium
New Configuration: Deploy firmware updates. Enforce change management for configuration changes.
30 days

## Slide 8
RCA INCIDENT HEATMAP
Site vs. Root Cause Category — Incident Frequency Matrix
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 8
Oct 2026
Device Power Issue
Third Party Device
New Configuration
Others
Client Side Activi
Bangalore
14
2
1
Greater Noida
7
Guwahati
3
Hyderabad
Mohali
2
1
Mumbai
Nagpur
3
Noida
Intensity:
Low (1-2)
Low-Med
Medium
High
Critical

## Slide 9
SLA PERFORMANCE DASHBOARD
SLA Target: 99.9% · 10 April 2026 – 10 May 2026
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 9
Oct 2026
Chart: 
| SLA Achieved | Margin
SLA Gauge | 80.18 | 19.82
80.18%
🚨 SLA BREACH
98.80%
Overall Uptime
94.70%
Incident-Free %
99.9%
SLA Target
SITE-WISE SLA COMPLIANCE OVERVIEW
Site | Devices | Proactive Switch Uptime | JFL Switch Uptime | Incident-Free % | SLA Status
Bangalore | 182 | 99.71% | 97.69% | 93.41% | 🚨 BREACH
Greater Noida | 113 | 99.99% | 98.71% | 95.58% | 🚨 BREACH
Guwahati | 5 | 99.99% | 98.94% | 40.00% | 🚨 BREACH
Hyderabad | 16 | 100.00% | 100.00% | 100.00% | ✓ MET
Mohali | 19 | 99.65% | 99.33% | 89.47% | 🚨 BREACH
Mumbai | 8 | 100.00% | 100.00% | 100.00% | ✓ MET
Nagpur | 10 | 99.96% | 96.77% | 90.00% | 🚨 BREACH
Noida | 81 | 100.00% | 100.00% | 100.00% | ✓ MET
SLA Performance Insight
• Overall SLA compliance: 80.18% against a 99.9% target.
• SLA compliance is below target. Immediate remediation is recommended.
• Network uptime averaged 98.80% across all monitored infrastructure.

## Slide 10
TICKET ANALYTICS
Incident Ticket Volume, Priority Distribution & Resolution Performance
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 10
Oct 2026
33
Total Tickets
0
Open
33
Closed
0
Critical (P1)
TOP 10 INCIDENT TICKETS BY PRIORITY
Ticket # | Device / Host | Category | Priority | Status | Primary RCA
PRO/INC/41715 | JFL-NAG-SSC-SW01 | Meraki Managed Ser | NON-CORE | Closed | Third Party Device issue
PRO/INC/41803 | JFL-MOHALI-ACC-SW-01(T | Meraki Managed Ser | NON-CORE | Closed | Others
PRO/INC/41933 | SEC-CAB-GF-AP02-R01-SW | Meraki Managed Ser | NON-CORE | Closed | Device Power Issues
PRO/INC/41932 | SEC-CAB-GF-AP03-R01-SW | Meraki Managed Ser | NON-CORE | Closed | Device Power Issues
PRO/INC/41934 | SEC-CAB-SW1 | Meraki Managed Ser | CORE | Closed | Device Power Issues
PRO/INC/41935 | SEC-CAB-SW2 | Meraki Managed Ser | CORE | Closed | Device Power Issues
PRO/INC/41992 | 2F-R4-SW3 | Meraki Managed Ser | CORE | Closed | Device Power Issues
PRO/INC/41993 | GF-UTILITY-SW1 | Meraki Managed Ser | CORE | Closed | Device Power Issues
PRO/INC/42152 | GF-UTILITY-SW1 | Meraki Managed Ser | P3 | Closed | Client Side Activity
PRO/INC/42155 | JFL-GNSC-AP49 | Meraki Managed Ser | NON-CORE | Closed | Device Power Issues
Ticket Analytics Insight
• 33 incident tickets were processed during the reporting period.
• Resolution rate: 100.0% — 33 tickets resolved, 0 pending closure.
• No critical (P1) tickets recorded — excellent incident prioritization.

## Slide 11
SITE HEALTH RANKING
All Sites Ranked from Healthiest to Most Critical
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 11
Oct 2026
Rank | Site | Health Score | Switch Uptime | Incident-Free % | Incident Count | Status
🥇 1st | Hyderabad | 100.0 / 100 | 100.00% | 100.00% | 0 | 🟢 TOP PERFORMER
🥈 2nd | Mumbai | 100.0 / 100 | 100.00% | 100.00% | 0 | LOW (Excellent)
🥉 3rd | Noida | 100.0 / 100 | 100.00% | 100.00% | 0 | LOW (Excellent)
#4 | Greater Noida | 97.2 / 100 | 98.71% | 95.58% | 7 | LOW (Excellent)
#5 | Bangalore | 96.5 / 100 | 97.69% | 93.41% | 17 | LOW (Excellent)
#6 | Nagpur | 94.9 / 100 | 96.77% | 90.00% | 3 | MODERATE (Good)
#7 | Mohali | 94.8 / 100 | 99.33% | 89.47% | 3 | MODERATE (Good)
#8 | Guwahati | 75.5 / 100 | 98.94% | 40.00% | 3 | ELEVATED (Fair)
Site Health Ranking — Key Findings
• Hyderabad leads the network with the highest health score of 100.00 — strong operational performance.
• Guwahati reported the lowest health score of 75.48 and requires priority intervention.
• 7 out of 8 sites are in excellent or good health.

## Slide 12
RISK ASSESSMENT
Site-Level Risk Classification with Prioritized Remediation Recommendations
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 12
Oct 2026
Site | Health Score | Risk Level | Top RCA | Recommendation
Guwahati | 75.5 / 100 | ELEVATED | Device Power Issues | PRIORITY: Investigate Device Power Issues incidents. Schedule site visit within 2 weeks.
Mohali | 94.8 / 100 | MODERATE | Device Power Issues | MONITOR: Review Device Power Issues trends. Consider preventive maintenance scheduling.
Nagpur | 94.9 / 100 | MODERATE | Third Party Device issue | MONITOR: Review Third Party Device issue trends. Consider preventive maintenance scheduling.
Bangalore | 96.5 / 100 | LOW | Device Power Issues | Continue standard monitoring. No immediate action required.
Greater Noida | 97.2 / 100 | LOW | Device Power Issues | Continue standard monitoring. No immediate action required.
Noida | 100.0 / 100 | LOW | Stable Operations (No Incidents) | Continue standard monitoring. No immediate action required.
Hyderabad | 100.0 / 100 | LOW | Stable Operations (No Incidents) | Continue standard monitoring. No immediate action required.
Mumbai | 100.0 / 100 | LOW | Stable Operations (No Incidents) | Continue standard monitoring. No immediate action required.
LOW (Score >= 95)
MODERATE (85-94)
ELEVATED (70-84)
HIGH (Score < 70)
Risk Assessment — Executive Summary
• No sites are currently in high-risk condition — commendable network stability.
• Primary systemic risk driver across the estate: Device Power Issues.
• Proactive intervention at elevated-risk sites will prevent escalation to high-risk status.

## Slide 13
Bangalore — SITE OVERVIEW
Site Review 1 of 8 · Operational KPIs, Health Assessment & AI Insights
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 13
Oct 2026
182
Active Devices
60
Switches
122
Access Points
97.69%
JFL Uptime
93.41%
Incident-Free %
96.47 (Excellent)
Health Score
BREACH
SLA Status
17
Total Incidents
KEY HIGHLIGHTS
93.4% of devices remained incident-free.
Site health score of 96.47 indicates strong operational stability.
17 total incidents logged; primary driver: Device Power Issues.
KEY RISKS
Switch uptime at 97.69% — below SLA target of 99.9%.
Recurring Device Power Issues incidents require infrastructure investigation.
AI Site Summary — Bangalore
• Bangalore operates 182 active devices (60 switches, 122 APs).
• JFL Switch Uptime: 97.69% | Proactive Switch Uptime: 99.71% — below the 99.9% SLA threshold.
• Primary RCA Drivers: Switches [Device Power Issues] | APs [Device Power Issues].

## Slide 14
Bangalore — OPERATIONAL ANALYTICS
Site Review 1 of 8 · Expanded Switch Uptime Summary & RCA Drivers
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 14
Oct 2026
97.69%
Avg Switch Uptime
36
Switches @ 100%
122
Total APs
17
Total Incidents
EXPANDED RACK-WISE SWITCH UPTIME SUMMARY
S.No. | RACK NUMBER | SERIAL NUMBER(S) | MONTHLY UPTIME % | OPERATING STATUS
1 | Main Rack | Q2DW-EM6A-8GPL | 92.05% | Operational
 | Main Rack | Q2DW-FPMF-3AL6 | 99.99% | Operational
 | Main Rack | Q2EW-3S9C-VJRW | 100.00% | Stable Operations (100% Uptime)
 | Main Rack | Q2EW-5R5B-HEY9 | 100.00% | Stable Operations (100% Uptime)
 | Main Rack | Q2EW-68N6-HTZ7 | 100.00% | Stable Operations (100% Uptime)
 | Main Rack | Q2EW-78HY-BNUV | 100.00% | Stable Operations (100% Uptime)
 | Main Rack | Q2MW-CC67-WVEU | 100.00% | Stable Operations (100% Uptime)
PRIMARY ROOT CAUSE DRIVERS
Primary RCA (Switches): Device Power Issues
Primary RCA (APs): Device Power Issues

## Slide 15
Bangalore — INCIDENT & TICKET REVIEW
Site Review 1 of 8 · Top Tickets, RCA Breakdown & Recommended Actions
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 15
Oct 2026
17
Total Tickets
0
Open
17
Closed
0
Critical (P1)
TOP INCIDENT TICKETS — BANGALORE
Ticket # | Device / Host | Category | Priority | Status | Primary RCA
PRO/INC/41933 | SEC-CAB-GF-AP02-R01-SW01 | Meraki Managed S | NON-CORE | Closed | Device Power Issues
PRO/INC/41932 | SEC-CAB-GF-AP03-R01-SW01 | Meraki Managed S | NON-CORE | Closed | Device Power Issues
PRO/INC/41934 | SEC-CAB-SW1 | Meraki Managed S | CORE | Closed | Device Power Issues
PRO/INC/41935 | SEC-CAB-SW2 | Meraki Managed S | CORE | Closed | Device Power Issues
PRO/INC/41992 | 2F-R4-SW3 | Meraki Managed S | CORE | Closed | Device Power Issues
PRO/INC/41993 | GF-UTILITY-SW1 | Meraki Managed S | CORE | Closed | Device Power Issues
PRO/INC/42152 | GF-UTILITY-SW1 | Meraki Managed S | P3 | Closed | Client Side Activity
PRO/INC/43792 | GF-AP01-ETP-SW1-10P | Meraki Managed S | P3 | Closed | Device Power Issues
RECOMMENDED ACTIONS
High
Inspect and replace faulty UPS/power infrastructure. Schedule preventive power audits. [Timeline: 30 days]
Medium
Deploy firmware updates. Enforce change management for configuration changes. [Timeline: 30 days]

## Slide 16
Greater Noida — SITE OVERVIEW
Site Review 2 of 8 · Operational KPIs, Health Assessment & AI Insights
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 16
Oct 2026
113
Active Devices
38
Switches
75
Access Points
98.71%
JFL Uptime
95.58%
Incident-Free %
97.21 (Excellent)
Health Score
BREACH
SLA Status
7
Total Incidents
KEY HIGHLIGHTS
95.6% of devices remained incident-free.
Site health score of 97.21 indicates strong operational stability.
7 total incidents logged; primary driver: Device Power Issues.
KEY RISKS
Switch uptime at 98.71% — below SLA target of 99.9%.
Recurring Device Power Issues incidents require infrastructure investigation.
AI Site Summary — Greater Noida
• Greater Noida operates 113 active devices (38 switches, 75 APs).
• JFL Switch Uptime: 98.71% | Proactive Switch Uptime: 99.99% — below the 99.9% SLA threshold.
• Primary RCA Drivers: Switches [Device Power Issues] | APs [Device Power Issues].

## Slide 17
Greater Noida — OPERATIONAL ANALYTICS
Site Review 2 of 8 · Expanded Switch Uptime Summary & RCA Drivers
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 17
Oct 2026
98.71%
Avg Switch Uptime
29
Switches @ 100%
75
Total APs
7
Total Incidents
EXPANDED RACK-WISE SWITCH UPTIME SUMMARY
S.No. | RACK NUMBER | SERIAL NUMBER(S) | MONTHLY UPTIME % | OPERATING STATUS
1 | Main Rack | Q5TN-DGC5-M8QZ | 99.99% | Operational
 | Main Rack | Q5TN-NF5F-N32X | 99.99% | Operational
 | Main Rack | FJC29021TWN | 100.00% | Stable Operations (100% Uptime)
 | Main Rack | FJC290222AL | 100.00% | Stable Operations (100% Uptime)
 | Main Rack | FJC290222SV | 99.99% | Operational
 | Main Rack | FJC29021TTW | 100.00% | Stable Operations (100% Uptime)
 | Main Rack | FJC29021TPQ | 100.00% | Stable Operations (100% Uptime)
PRIMARY ROOT CAUSE DRIVERS
Primary RCA (Switches): Device Power Issues
Primary RCA (APs): Device Power Issues

## Slide 18
Greater Noida — INCIDENT & TICKET REVIEW
Site Review 2 of 8 · Top Tickets, RCA Breakdown & Recommended Actions
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 18
Oct 2026
7
Total Tickets
0
Open
7
Closed
0
Critical (P1)
TOP INCIDENT TICKETS — GREATER NOIDA
Ticket # | Device / Host | Category | Priority | Status | Primary RCA
PRO/INC/42155 | JFL-GNSC-AP49 | Meraki Managed S | NON-CORE | Closed | Device Power Issues
PRO/INC/42157 | JFL-GNSC-AP30 | Meraki Managed S | NON-CORE | Closed | Device Power Issues
PRO/INC/42933 | JFL-GNSC-CORE-SW-ST-01 [ | Meraki Managed S | CORE | Closed | Device Power Issues
PRO/INC/44555 | JFL-GNSC-AP30 | Meraki Managed S | NON-CORE | Closed | Device Power Issues
PRO/INC/44719 | JFL-GNSC-AP48 | Meraki Managed S | NON-CORE | Closed | Device Power Issues
PRO/INC/44727 | JFL-GNSC-AP48 | Meraki Managed S | NON-CORE | Closed | Device Power Issues
PRO/INC/44988 | JFL-GNSC-CORE-SW-ST-01 [ | Meraki Managed S | CORE | Closed | Device Power Issues
RECOMMENDED ACTIONS
High
Inspect and replace faulty UPS/power infrastructure. Schedule preventive power audits. [Timeline: 30 days]

## Slide 19
Guwahati — SITE OVERVIEW
Site Review 3 of 8 · Operational KPIs, Health Assessment & AI Insights
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 19
Oct 2026
5
Active Devices
2
Switches
3
Access Points
98.94%
JFL Uptime
40.00%
Incident-Free %
75.48 (Fair)
Health Score
BREACH
SLA Status
3
Total Incidents
KEY HIGHLIGHTS
3 total incidents logged; primary driver: Device Power Issues.
KEY RISKS
Switch uptime at 98.94% — below SLA target of 99.9%.
Only 40.0% of devices are incident-free — investigate recurring failures.
Health score of 75.48 indicates moderate risk requiring attention.
AI Site Summary — Guwahati
• Guwahati operates 5 active devices (2 switches, 3 APs).
• JFL Switch Uptime: 98.94% | Proactive Switch Uptime: 99.99% — below the 99.9% SLA threshold.
• Primary RCA Drivers: Switches [Device Power Issues] | APs [Device Power Issues].

## Slide 20
Guwahati — OPERATIONAL ANALYTICS
Site Review 3 of 8 · Expanded Switch Uptime Summary & RCA Drivers
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 20
Oct 2026
98.94%
Avg Switch Uptime
0
Switches @ 100%
3
Total APs
3
Total Incidents
EXPANDED RACK-WISE SWITCH UPTIME SUMMARY
S.No. | RACK NUMBER | SERIAL NUMBER(S) | MONTHLY UPTIME % | OPERATING STATUS
1 | Main Rack | Q5JG-AQNW-P9FB | 99.99% | Operational
 | Main Rack | Q5JG-ECTW-5MN7 | 99.99% | Operational
PRIMARY ROOT CAUSE DRIVERS
Primary RCA (Switches): Device Power Issues
Primary RCA (APs): Device Power Issues

## Slide 21
Guwahati — INCIDENT & TICKET REVIEW
Site Review 3 of 8 · Top Tickets, RCA Breakdown & Recommended Actions
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 21
Oct 2026
3
Total Tickets
0
Open
3
Closed
0
Critical (P1)
TOP INCIDENT TICKETS — GUWAHATI
Ticket # | Device / Host | Category | Priority | Status | Primary RCA
PRO/INC/42631 | JFL-Guwahati-SSC-AP-02 | Meraki Managed S | NON-CORE | Closed | Device Power Issues
PRO/INC/42633 | JFL-Guwahati-CORE-01 | Meraki Managed S | CORE | Closed | Device Power Issues
PRO/INC/42634 | JFL-Guwahati-SSC-AP-03 | Meraki Managed S | NON-CORE | Closed | Device Power Issues
RECOMMENDED ACTIONS
High
Inspect and replace faulty UPS/power infrastructure. Schedule preventive power audits. [Timeline: 30 days]

## Slide 22
Hyderabad — SITE OVERVIEW
Site Review 4 of 8 · Operational KPIs, Health Assessment & AI Insights
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 22
Oct 2026
16
Active Devices
2
Switches
14
Access Points
100.00%
JFL Uptime
100.00%
Incident-Free %
100.00 (Excellent)
Health Score
MET
SLA Status
0
Total Incidents
KEY HIGHLIGHTS
Switch uptime at 100.00% — exceeding SLA threshold of 99.9%.
100.0% of devices remained incident-free.
Site health score of 100.00 indicates strong operational stability.
KEY RISKS
No critical risks identified. Continue standard monitoring protocols.
AI Site Summary — Hyderabad
• Hyderabad operates 16 active devices (2 switches, 14 APs).
• JFL Switch Uptime: 100.00% | Proactive Switch Uptime: 100.00% — within the 99.9% SLA threshold.
• Primary RCA Drivers: Switches [Stable Operations (No Incidents)] | APs [Stable Operations (No Incidents)].

## Slide 23
Hyderabad — OPERATIONAL ANALYTICS
Site Review 4 of 8 · Expanded Switch Uptime Summary & RCA Drivers
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 23
Oct 2026
100.00%
Avg Switch Uptime
2
Switches @ 100%
14
Total APs
0
Total Incidents
EXPANDED RACK-WISE SWITCH UPTIME SUMMARY
S.No. | RACK NUMBER | SERIAL NUMBER(S) | MONTHLY UPTIME % | OPERATING STATUS
1 | Main Rack | Q5JJ-GEWQ-X3MG | 100.00% | Stable Operations (100% Uptime)
 | Main Rack | Q5JJ-Q88T-6XC7 | 100.00% | Stable Operations (100% Uptime)
PRIMARY ROOT CAUSE DRIVERS
Primary RCA (Switches): Stable Operations (No Incidents)
Primary RCA (APs): Stable Operations (No Incidents)

## Slide 24
Hyderabad — INCIDENT & TICKET REVIEW
Site Review 4 of 8 · Top Tickets, RCA Breakdown & Recommended Actions
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 24
Oct 2026
0
Total Tickets
0
Open
0
Closed
0
Critical (P1)
INCIDENT & RCA REVIEW — HYDERABAD
ZERO INCIDENTS RECORDED
Hyderabad achieved 100% operational SLA compliance with zero incident tickets recorded during this reporting period.
PRIMARY ROOT CAUSE DRIVER
Primary RCA Status: Stable Operations (No Incidents)
Operational Insight — Hyderabad
• Zero incident tickets recorded for Hyderabad in this reporting period.
• Infrastructure health remains optimal. Continuous proactive monitoring is active.

## Slide 25
Mohali — SITE OVERVIEW
Site Review 5 of 8 · Operational KPIs, Health Assessment & AI Insights
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 25
Oct 2026
19
Active Devices
2
Switches
17
Access Points
99.33%
JFL Uptime
89.47%
Incident-Free %
94.77 (Good)
Health Score
BREACH
SLA Status
3
Total Incidents
KEY HIGHLIGHTS
Site health score of 94.77 indicates strong operational stability.
3 total incidents logged; primary driver: Stable Operations (No Incidents).
KEY RISKS
Switch uptime at 99.33% — below SLA target of 99.9%.
Only 89.5% of devices are incident-free — investigate recurring failures.
Recurring Stable Operations (No Incidents) incidents require infrastructure investigation.
AI Site Summary — Mohali
• Mohali operates 19 active devices (2 switches, 17 APs).
• JFL Switch Uptime: 99.33% | Proactive Switch Uptime: 99.65% — below the 99.9% SLA threshold.
• Primary RCA Drivers: Switches [Stable Operations (No Incidents)] | APs [Device Power Issues].

## Slide 26
Mohali — OPERATIONAL ANALYTICS
Site Review 5 of 8 · Expanded Switch Uptime Summary & RCA Drivers
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 26
Oct 2026
99.33%
Avg Switch Uptime
1
Switches @ 100%
17
Total APs
3
Total Incidents
EXPANDED RACK-WISE SWITCH UPTIME SUMMARY
S.No. | RACK NUMBER | SERIAL NUMBER(S) | MONTHLY UPTIME % | OPERATING STATUS
1 | Main Rack | Q5JG-NJW9-ABBQ | 100.00% | Stable Operations (100% Uptime)
 | Main Rack | Q5JJ-3TZH-2HV5 | 99.30% | Operational
PRIMARY ROOT CAUSE DRIVERS
Primary RCA (Switches): Stable Operations (No Incidents)
Primary RCA (APs): Device Power Issues

## Slide 27
Mohali — INCIDENT & TICKET REVIEW
Site Review 5 of 8 · Top Tickets, RCA Breakdown & Recommended Actions
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 27
Oct 2026
3
Total Tickets
0
Open
3
Closed
0
Critical (P1)
TOP INCIDENT TICKETS — MOHALI
Ticket # | Device / Host | Category | Priority | Status | Primary RCA
PRO/INC/41803 | JFL-MOHALI-ACC-SW-01(Tra | Meraki Managed S | NON-CORE | Closed | Others
PRO/INC/43076 | JFL-MOHALI-ACC-SW-01(Tra | Meraki Managed S | CORE | Closed | Device Power Issues
PRO/INC/45099 | JFL-Mohali-SCC-AP13 | Meraki Managed S | NON-CORE | Closed | Device Power Issues
RECOMMENDED ACTIONS
High
Inspect and replace faulty UPS/power infrastructure. Schedule preventive power audits. [Timeline: 30 days]
High
High-frequency RCA (33.3%). Conduct root cause workshop with operations team. [Timeline: 14 days]

## Slide 28
Mumbai — SITE OVERVIEW
Site Review 6 of 8 · Operational KPIs, Health Assessment & AI Insights
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 28
Oct 2026
8
Active Devices
8
Switches
0
Access Points
100.00%
JFL Uptime
100.00%
Incident-Free %
100.00 (Excellent)
Health Score
MET
SLA Status
0
Total Incidents
KEY HIGHLIGHTS
Switch uptime at 100.00% — exceeding SLA threshold of 99.9%.
100.0% of devices remained incident-free.
Site health score of 100.00 indicates strong operational stability.
KEY RISKS
No critical risks identified. Continue standard monitoring protocols.
AI Site Summary — Mumbai
• Mumbai operates 8 active devices (8 switches, 0 APs).
• JFL Switch Uptime: 100.00% | Proactive Switch Uptime: 100.00% — within the 99.9% SLA threshold.
• Primary RCA Drivers: Switches [Stable Operations (No Incidents)] | APs [Stable Operations (No Incidents)].

## Slide 29
Mumbai — OPERATIONAL ANALYTICS
Site Review 6 of 8 · Expanded Switch Uptime Summary & RCA Drivers
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 29
Oct 2026
100.00%
Avg Switch Uptime
8
Switches @ 100%
0
Total APs
0
Total Incidents
EXPANDED RACK-WISE SWITCH UPTIME SUMMARY
S.No. | RACK NUMBER | SERIAL NUMBER(S) | MONTHLY UPTIME % | OPERATING STATUS
1 | Main Rack | FCW2302L13B | 100.00% | Stable Operations (100% Uptime)
 | Main Rack | FCW2302G0TL | 100.00% | Stable Operations (100% Uptime)
 | Main Rack | FCW2302D0ZJ | 100.00% | Stable Operations (100% Uptime)
 | Main Rack | FCW2302D0Z7 | 100.00% | Stable Operations (100% Uptime)
 | Main Rack | FCW2302AHDZ | 100.00% | Stable Operations (100% Uptime)
 | Main Rack | FCW2302DHGQ | 100.00% | Stable Operations (100% Uptime)
 | Main Rack | FOC2302U0WY | 100.00% | Stable Operations (100% Uptime)
PRIMARY ROOT CAUSE DRIVERS
Primary RCA (Switches): Stable Operations (No Incidents)
Primary RCA (APs): Stable Operations (No Incidents)

## Slide 30
Mumbai — INCIDENT & TICKET REVIEW
Site Review 6 of 8 · Top Tickets, RCA Breakdown & Recommended Actions
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 30
Oct 2026
0
Total Tickets
0
Open
0
Closed
0
Critical (P1)
INCIDENT & RCA REVIEW — MUMBAI
ZERO INCIDENTS RECORDED
Mumbai achieved 100% operational SLA compliance with zero incident tickets recorded during this reporting period.
PRIMARY ROOT CAUSE DRIVER
Primary RCA Status: Stable Operations (No Incidents)
Operational Insight — Mumbai
• Zero incident tickets recorded for Mumbai in this reporting period.
• Infrastructure health remains optimal. Continuous proactive monitoring is active.

## Slide 31
Nagpur — SITE OVERVIEW
Site Review 7 of 8 · Operational KPIs, Health Assessment & AI Insights
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 31
Oct 2026
10
Active Devices
4
Switches
6
Access Points
96.77%
JFL Uptime
90.00%
Incident-Free %
94.87 (Good)
Health Score
BREACH
SLA Status
3
Total Incidents
KEY HIGHLIGHTS
90.0% of devices remained incident-free.
Site health score of 94.87 indicates strong operational stability.
3 total incidents logged; primary driver: Third Party Device issue.
KEY RISKS
Switch uptime at 96.77% — below SLA target of 99.9%.
Recurring Third Party Device issue incidents require infrastructure investigation.
AI Site Summary — Nagpur
• Nagpur operates 10 active devices (4 switches, 6 APs).
• JFL Switch Uptime: 96.77% | Proactive Switch Uptime: 99.96% — below the 99.9% SLA threshold.
• Primary RCA Drivers: Switches [Third Party Device issue] | APs [Stable Operations (No Incidents)].

## Slide 32
Nagpur — OPERATIONAL ANALYTICS
Site Review 7 of 8 · Expanded Switch Uptime Summary & RCA Drivers
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 32
Oct 2026
96.77%
Avg Switch Uptime
0
Switches @ 100%
6
Total APs
3
Total Incidents
EXPANDED RACK-WISE SWITCH UPTIME SUMMARY
S.No. | RACK NUMBER | SERIAL NUMBER(S) | MONTHLY UPTIME % | OPERATING STATUS
1 | Main Rack | Q5JG-SL55-CZ9Z | 99.99% | Operational
 | Main Rack | Q5JG-STQ9-EUPF | 99.99% | Operational
 | Main Rack | Q5JG-TM9S-PLFP | 99.98% | Operational
 | Main Rack | Q5JJ-68KZ-MXAS | 99.89% | Operational
PRIMARY ROOT CAUSE DRIVERS
Primary RCA (Switches): Third Party Device issue
Primary RCA (APs): Stable Operations (No Incidents)

## Slide 33
Nagpur — INCIDENT & TICKET REVIEW
Site Review 7 of 8 · Top Tickets, RCA Breakdown & Recommended Actions
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 33
Oct 2026
3
Total Tickets
0
Open
3
Closed
0
Critical (P1)
TOP INCIDENT TICKETS — NAGPUR
Ticket # | Device / Host | Category | Priority | Status | Primary RCA
PRO/INC/41715 | JFL-NAG-SSC-SW01 | Meraki Managed S | NON-CORE | Closed | Third Party Device issue
PRO/INC/44676 | JFL-NAG-SSC-SW01 | Meraki Managed S | NON-CORE | Closed | Third Party Device issue
PRO/INC/44824 | JFL-NAG-SSC-SW01 | Meraki Managed S | NON-CORE | Closed | Third Party Device issue
RECOMMENDED ACTIONS
Medium
Schedule hardware audit. Identify end-of-life devices for replacement. [Timeline: 60 days]

## Slide 34
Noida — SITE OVERVIEW
Site Review 8 of 8 · Operational KPIs, Health Assessment & AI Insights
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 34
Oct 2026
81
Active Devices
41
Switches
40
Access Points
100.00%
JFL Uptime
100.00%
Incident-Free %
99.97 (Excellent)
Health Score
MET
SLA Status
0
Total Incidents
KEY HIGHLIGHTS
Switch uptime at 100.00% — exceeding SLA threshold of 99.9%.
100.0% of devices remained incident-free.
Site health score of 99.97 indicates strong operational stability.
KEY RISKS
No critical risks identified. Continue standard monitoring protocols.
AI Site Summary — Noida
• Noida operates 81 active devices (41 switches, 40 APs).
• JFL Switch Uptime: 100.00% | Proactive Switch Uptime: 100.00% — within the 99.9% SLA threshold.
• Primary RCA Drivers: Switches [Stable Operations (No Incidents)] | APs [Stable Operations (No Incidents)].

## Slide 35
Noida — OPERATIONAL ANALYTICS
Site Review 8 of 8 · Expanded Switch Uptime Summary & RCA Drivers
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 35
Oct 2026
100.00%
Avg Switch Uptime
35
Switches @ 100%
40
Total APs
0
Total Incidents
EXPANDED RACK-WISE SWITCH UPTIME SUMMARY
S.No. | RACK NUMBER | SERIAL NUMBER(S) | MONTHLY UPTIME % | OPERATING STATUS
1 | Main Rack | FOC2635Y89M | 100.00% | Stable Operations (100% Uptime)
 | Main Rack | FOC2635Y89T | 100.00% | Stable Operations (100% Uptime)
 | Main Rack | FOC2647Y151 | 100.00% | Stable Operations (100% Uptime)
 | Main Rack | FOC2646YCRH | 100.00% | Stable Operations (100% Uptime)
 | Main Rack | FOC2704Y1N8 | 100.00% | Stable Operations (100% Uptime)
 | Main Rack | FOC2704Y3AY | 100.00% | Stable Operations (100% Uptime)
 | Main Rack | FOC2708YFGS | 100.00% | Stable Operations (100% Uptime)
PRIMARY ROOT CAUSE DRIVERS
Primary RCA (Switches): Stable Operations (No Incidents)
Primary RCA (APs): Stable Operations (No Incidents)

## Slide 36
Noida — INCIDENT & TICKET REVIEW
Site Review 8 of 8 · Top Tickets, RCA Breakdown & Recommended Actions
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 36
Oct 2026
0
Total Tickets
0
Open
0
Closed
0
Critical (P1)
INCIDENT & RCA REVIEW — NOIDA
ZERO INCIDENTS RECORDED
Noida achieved 100% operational SLA compliance with zero incident tickets recorded during this reporting period.
PRIMARY ROOT CAUSE DRIVER
Primary RCA Status: Stable Operations (No Incidents)
Operational Insight — Noida
• Zero incident tickets recorded for Noida in this reporting period.
• Infrastructure health remains optimal. Continuous proactive monitoring is active.

## Slide 37
AI-GENERATED RECOMMENDATIONS
Priority-Based Remediation Plan Generated from Incident & Health Analytics
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 37
Oct 2026
HIGH PRIORITY — IMMEDIATE ACTION REQUIRED (0-30 DAYS)
HIGH
Address health degradation at Guwahati (Score: 75.48). Conduct on-site audit and deploy rapid response team.
HIGH
Inspect and replace faulty UPS/power infrastructure. Schedule preventive power audits.
MEDIUM PRIORITY — ACTION REQUIRED (30-60 DAYS)
MED
Schedule hardware audit. Identify end-of-life devices for replacement.
MED
Deploy firmware updates. Enforce change management for configuration changes.
MED
Investigate and mitigate Others failures.
LOW PRIORITY — STANDARD PRACTICE (60-90 DAYS)
LOW
Update network topology documentation for all 8 sites including current device serial inventories.
LOW
Conduct quarterly stakeholder review meetings with JFL IT leadership to align on operational priorities.
LOW
Evaluate proactive monitoring alert threshold tuning to reduce noise and improve incident detection accuracy.

## Slide 38
ACTION PLAN TRACKER
Prioritized Action Items with Ownership, Timeline & Status
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 38
Oct 2026
Priority | Action | Owner | Timeline | Impact | Status
High | Remediate health degradation at Guwahati (Score: 75.48) | Network Operations | 30 days | High | Open
High | Root cause elimination for "Device Power Issues" (26 occurrences across all sites) | Infrastructure Team | 45 days | High | In Progress
High | Root cause elimination for "Third Party Device issue" (3 occurrences across all sites) | Infrastructure Team | 45 days | High | In Progress
High | Root cause elimination for "New Configuration" (2 occurrences across all sites) | Infrastructure Team | 45 days | High | In Progress
Medium | Quarterly firmware update across all network switches | Network Ops | Q2 FY2026 | Medium | Planned
Medium | AP placement review at sites with >30% AP incident rate | Wireless Team | 60 days | Medium | Planned
Low | Documentation update — network topology diagrams for all 8 sites | Documentation | 90 days | Low | Planned
Low | Monthly proactive health check cadence review with JFL stakeholders | Account Manager | Ongoing | Low | Active
Action Plan — Executive Note
• 4 high-priority actions require completion within 30-45 days to prevent SLA degradation.
• Action ownership has been assigned to respective operational teams. Regular follow-up recommended.
• This action plan should be reviewed and updated monthly with JFL IT leadership.

## Slide 39
OVERVIEW
Other Activity — Change Requests, Maintenance & Non-Hardware Tickets (Page 1 of 2)
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 39
Oct 2026
Subject | Sub Category | Device Name | Device Serial | Device Type | Hostname | Status | RCA
new dhcp server detected | Meraki Managed Service | Nagpur | Q5JJ-68KZ-MXAS | SW | JFL-NAG-SSC-SW01 | Closed | Third Party Device issue
Alert for JFL-MOHALI-SCC - Devices operating at cr | Meraki Managed Service | Mohali | Q3LP-2PSJ-6DLB | SW | JFL-MOHALI-ACC-SW-01 | Closed | Others
aps went down | Meraki Managed Service | Bangalore | Q3AC-YHHC-Q634 | AP | SEC-CAB-GF-AP02-R01- | Closed | Device Power Issues
aps went down | Meraki Managed Service | Bangalore | Q3AC-DTQ8-WQMM | AP | SEC-CAB-GF-AP03-R01- | Closed | Device Power Issues
switches went down | Meraki Managed Service | Bangalore | Q2QW-FCJL-LJS8 | SW | SEC-CAB-SW1 | Closed | Device Power Issues
switches went down | Meraki Managed Service | Bangalore | Q2QW-FCH3-EMVG | SW | SEC-CAB-SW2 | Closed | Device Power Issues
switches went down | Meraki Managed Service | Bangalore | Q2QW-BAYV-J6K5 | SW | 2F-R4-SW3 | Closed | Device Power Issues
switches went down | Meraki Managed Service | Bangalore | Q2QW-EXXK-QDZ3 | SW | GF-UTILITY-SW1 | Closed | Device Power Issues
Camera not Working -GF-UTILITY-SW1-28-jfl bngl | Meraki Managed Service | Bangalore | Q2QW-EXXK-QDZ3 | SW | GF-UTILITY-SW1 | Closed | Client Side Activity
aps went down | Meraki Managed Service | Greater Noida | Q3KG-CFHX-4TRU | AP | JFL-GNSC-AP49 | Closed | Device Power Issues
aps went down | Meraki Managed Service | Greater Noida | Q5AA-J9A9-ZJ2B | AP | JFL-GNSC-AP30 | Closed | Device Power Issues
aps went down | Meraki Managed Service | Guwahati | Q3KG-ZJZJ-WWH5 | AP | JFL-Guwahati-SSC-AP- | Closed | Device Power Issues

## Slide 40
OVERVIEW
Other Activity — Change Requests, Maintenance & Non-Hardware Tickets (Page 2 of 2)
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 40
Oct 2026
Subject | Sub Category | Device Name | Device Serial | Device Type | Hostname | Status | RCA
switches went down | Meraki Managed Service | Guwahati | Q5JG-ECTW-5MN7 | SW | JFL-Guwahati-CORE-01 | Closed | Device Power Issues
aps went down | Meraki Managed Service | Guwahati | Q5AA-RM28-C2R8 | AP | JFL-Guwahati-SSC-AP- | Closed | Device Power Issues
switches went down | Meraki Managed Service | Greater Noida | Q5TN-DGC5-M8QZ | SW | JFL-GNSC-CORE-SW-ST- | Closed | Device Power Issues

## Slide 41
APPENDIX — MASTER DATA REFERENCE
Information Governance & Accompanying Audit Logs
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 41
Oct 2026
EXECUTIVE DATA NOTICE
Detailed raw device logs, switch inventories, AP breakdowns, and full incident history tables are available in the accompanying Excel/CSV data files.
This QBR PPT presentation contains only executive summaries, site-by-site reviews, and strategic action plans to maintain high executive readability.

## Slide 42
Thank You
Proactive Data Systems · www.proactive.co.in
Reporting Period: 10 April 2026 – 10 May 2026
Customer: Jubilant Foodworks Ltd (JFL)
Generated: 1 October 2026
CONFIDENTIAL — This document is intended for authorized recipients only.