## Slide 1
QUARTERLY BUSINESS REVIEW
JFL – Proactive Network Operations Review
Q1 FY2026 (7 Apr – 6 Jul 2026)
Prepared by Proactive Data Systems · Presented to JFL

## Slide 2
OVERVIEW
Executive Summary — All Sites
Site | No of devices | Switch Uptime | AP Incidents | Primary RCA Driver (Switches) | Primary RCA Driver (AP)
170 | 98.89% | 25 | Device Power Issues | Device Power Issues
5 | 99.05% | 2 | Device Power Issues | Device Power Issues
119 | 99.19% | 57 | New Configuration | Device Power Issues
82 | 100.00% | 1 | New Configuration | Device Power Issues
8 | 100.00% | 0 | None | None
16 | 100.00% | 0 | None | None
19 | 98.35% | 13 | Device Power Issues | Device Power Issues
10 | 98.23% | 4 | Third Party Device issue | Client Side Activity
This review consolidates SLA performance, rack and switch uptime, and access-point incident RCA for all eight monitored JFL sites for the period 7 April 2026 – 6 July 2026.
JFL – Proactive Quarterly Review
2

## Slide 3
SITE REVIEW · 1 OF 8
Bangalore – AP and Switch statistical analystics
Access Point Breakdown
Chart: 
| Device Power Issues | ISP Issue | Client Side Activity
Incidents | 25 | 5 | 1
Rack-wise Switch Uptime %
RACK# | Uptime %
CORE | 96.89%
GF-R1 | 99.58%
1F-R1 | 100.00%
STOCK | 100.00%
SIDE-PLANT1 | 99.86%
2F-R4 | 99.91%
GF-R5 | 96.42%
MZ-R2 | 96.66%
MZ-R1 | 100.00%
GF-ETP | 99.20%
1F-R4 | 99.07%
1F-R5 | 99.66%
GF-R6 | 100.00%
GF-R4 | 99.50%
GF-R3 | 100.00%
2F-R5 | 99.94%
GF-R2 | 100.00%
1F-R3 | 99.07%
JFL – Proactive Quarterly Review
3

## Slide 4
SITE REVIEW · 1 OF 8
Bangalore — Switch Uptime Report
100%
Aggregated Switch Uptime
0
Switches Monitored
0
Primary RCA Driver
0
Switches at 100% Uptime
# | Hostname | Serial Number | Rack Number | Uptime %
1 | CORE-1 | Q2DW-EM6A-8GPL | CORE | 100.00%
2 | CORE-2 | Q2DW-FPMF-3AL6 | CORE | 93.78%
3 | GF-R1-SW3 | Q2EW-3S9C-VJRW | GF-R1 | 100.00%
4 | 1F-R1-SW4 | Q2EW-5R5B-HEY9 | 1F-R1 | 100.00%
5 | c4:8b:a3:39:16:e0 | Q2EW-68N6-HTZ7 | STOCK | 100.00%
6 | Q2EW-78HY-BNUV | Q2EW-78HY-BNUV | STOCK | 100.00%
7 | Q2MW-CC67-WVEU | Q2MW-CC67-WVEU | STOCK | 100.00%
8 | SIDE-PLANT2 | Q2MW-CRVX-WJD3 | STOCK | 100.00%
9 | Q2MW-DSWB-43BC | Q2MW-DSWB-43BC | STOCK | 100.00%
10 | SIDE-PLANT1 | Q2MW-DT66-3HKL | SIDE-PLANT1 | 99.86%
11 | 2F-R4-SW2 | Q2QW-ARKH-HCRT | 2F-R4 | 99.96%
12 | 2F-R4-SW1 | Q2QW-ATN2-HDQK | 2F-R4 | 100.00%
JFL – Proactive Quarterly Review
4

## Slide 5
SITE REVIEW · 1 OF 8
Bangalore — AP Incidents & RCA
0
Total number of incidents
0
Met Cases
0
Breach Cases
0
Primary RCA Driver
# | Hostname | Serial Number | No of Incidents | Primary RCA Driver
1 | Q2QW-CAJU-QVKD | Q2QW-CAJU-QVKD | 4 | New Configuration
2 | Q2QW-FCH3-EMVG | Q2QW-FCH3-EMVG | 4 | Device Power Issues
3 | Q2QW-FCJL-LJS8 | Q2QW-FCJL-LJS8 | 3 | Device Power Issues
4 | Q3AC-9EFV-95CH | Q3AC-9EFV-95CH | 2 | Device Power Issues
5 | Q3AC-C4P4-JNC9 | Q3AC-C4P4-JNC9 | 2 | Device Power Issues
6 | Q3AC-PGZ6-YM5F | Q3AC-PGZ6-YM5F | 2 | Device Power Issues
7 | Q2QW-EXXK-QDZ3 | Q2QW-EXXK-QDZ3 | 2 | Device Power Issues
8 | Q5AE-KNH9-5GV8 | Q5AE-KNH9-5GV8 | 2 | Device Power Issues
9 | Q3AC-RQJS-FY3M | Q3AC-RQJS-FY3M | 2 | Device Power Issues
10 | Q3AC-E8LA-PVD4 | Q3AC-E8LA-PVD4 | 2 | Device Power Issues
11 | Q2QW-CTFM-KEQZ | Q2QW-CTFM-KEQZ | 2 | Device Power Issues
12 | Q2QW-CTFE-E2WF | Q2QW-CTFE-E2WF | 2 | Device Power Issues
JFL – Proactive Quarterly Review
4

## Slide 6
SITE REVIEW · 2 OF 8
Guwahati – AP and Switch statistical analystics
Access Point Breakdown
Chart: 
| Device Power Issues | ISP Issue | Client Side Activity
Incidents | 25 | 5 | 1
Rack-wise Switch Uptime %
RACK# | Uptime %
CORE | 99.05%
JFL – Proactive Quarterly Review
3

## Slide 7
SITE REVIEW · 2 OF 8
Guwahati — Switch Uptime Report
100%
Aggregated Switch Uptime
0
Switches Monitored
0
Primary RCA Driver
0
Switches at 100% Uptime
# | Hostname | Serial Number | Rack Number | Uptime %
1 | JFL-Guwahati-CORE-02 | Q5JG-AQNW-P9FB | CORE | 98.98%
2 | JFL-Guwahati-CORE-01 | Q5JG-ECTW-5MN7 | CORE | 99.12%
JFL – Proactive Quarterly Review
4

## Slide 8
SITE REVIEW · 2 OF 8
Guwahati — AP Incidents & RCA
0
Total number of incidents
0
Met Cases
0
Breach Cases
0
Primary RCA Driver
# | Hostname | Serial Number | No of Incidents | Primary RCA Driver
1 | Q5AA-RM28-C2R8 | Q5AA-RM28-C2R8 | 6 | Device Power Issues
2 | Q3KG-ZJZJ-WWH5 | Q3KG-ZJZJ-WWH5 | 4 | Device Power Issues
3 | Q5JG-ECTW-5MN7 | Q5JG-ECTW-5MN7 | 4 | Device Power Issues
4 | Q5JG-AQNW-P9FB | Q5JG-AQNW-P9FB | 1 | Device Power Issues
JFL – Proactive Quarterly Review
4

## Slide 9
SITE REVIEW · 3 OF 8
Greater Noida – AP and Switch statistical analystics
Access Point Breakdown
Chart: 
| Device Power Issues | ISP Issue | Client Side Activity
Incidents | 25 | 5 | 1
Rack-wise Switch Uptime %
RACK# | Uptime %
Core | 97.86%
JFL-GNSC-TR-AC-SW-01 | 100.00%
JFL-GNSC-BP-AC-SW-01 | 100.00%
JFL-GNSC-TP-AC-SW-01 | 96.59%
JFL-GNSC-LT-AC-SW-01 | 100.00%
JFL-GNSC-PO-AC-SW-01 | 100.00%
JFL-GNSC-RE-AC-SW-01 | 100.00%
JFL-GNSC-NCK-AC-SW-02 | 100.00%
JFL-GNSC-GF-AC-SW-03 | 100.00%
JFL-GNSC-DA-AC-SW-03 | 100.00%
JFL-GNSC-CLC-SW-03 | 100.00%
JFL-GNSC-RO-SW01 | 100.00%
JFL-GNSC-CK-AC-SW-02 | 100.00%
JFL-GNMC-2F-AC-ST-01 | 100.00%
JFL-GNMC-TR-AV-SW-01 | 100.00%
JFL-GNMC-3F-AC-ST-01 | 100.00%
JFL-GNMC-1F-LB-AC-SW-01 | 100.00%
JFL-GNMC-GF-AC-ST-01 | 97.10%
JFL – Proactive Quarterly Review
3

## Slide 10
SITE REVIEW · 3 OF 8
Greater Noida — Switch Uptime Report
100%
Aggregated Switch Uptime
0
Switches Monitored
0
Primary RCA Driver
0
Switches at 100% Uptime
# | Hostname | Serial Number | Rack Number | Uptime %
1 | JFL-GNSC-CORE-SW-ST-01 [2] | Q5TN-DGC5-M8QZ | Core | 97.54%
2 | JFL-GNSC-CORE-SW-ST-01 [1] | Q5TN-NF5F-N32X | Core | 98.19%
3 | JFL-GNSC-TR-AC-SW-01 | FJC29021TWN | JFL-GNSC-TR-AC-SW-01 | 100.00%
4 | JFL-GNSC-BP-AC-SW-01 | FJC290222AL | JFL-GNSC-BP-AC-SW-01 | 100.00%
5 | JFL-GNSC-TP-AC-SW-01 | FJC290222SV | JFL-GNSC-TP-AC-SW-01 | 96.59%
6 | JFL-GNSC-LT-AC-SW-01 | FJC29021TTW | JFL-GNSC-LT-AC-SW-01 | 100.00%
7 | JFL-GNSC-PO-AC-SW-01 | FJC29021TPQ | JFL-GNSC-PO-AC-SW-01 | 100.00%
8 | JFL-GNSC-RE-AC-SW-01 | FJC29021TNP | JFL-GNSC-RE-AC-SW-01 | 100.00%
9 | JFL-GNSC-NCK-AC-SW-02 | FVH2914L0JY | JFL-GNSC-NCK-AC-SW-02 | 100.00%
10 | JFL-GNSC-GF-AC-SW-03 | FVH2914L0BV | JFL-GNSC-GF-AC-SW-03 | 100.00%
11 | JFL-GNSC-DA-AC-SW-03 | FVH2914L0QD | JFL-GNSC-DA-AC-SW-03 | 100.00%
12 | JFL-GNSC-CLC-SW-03 | FVH2913LEGS | JFL-GNSC-CLC-SW-03 | 100.00%
JFL – Proactive Quarterly Review
4

## Slide 11
SITE REVIEW · 3 OF 8
Greater Noida — AP Incidents & RCA
0
Total number of incidents
0
Met Cases
0
Breach Cases
0
Primary RCA Driver
# | Hostname | Serial Number | No of Incidents | Primary RCA Driver
1 | Q3KG-JH9T-FL7Z | Q3KG-JH9T-FL7Z | 13 | Device Power Issues
2 | Q3KG-Y2PU-4DWW | Q3KG-Y2PU-4DWW | 9 | Device Power Issues
3 | Q3KG-GWW5-CHJC | Q3KG-GWW5-CHJC | 9 | Device Power Issues
4 | Q5AA-XGDL-V7JB | Q5AA-XGDL-V7JB | 8 | Device Power Issues
5 | Q5AA-FRBE-94N5 | Q5AA-FRBE-94N5 | 7 | Device Power Issues
6 | Q5AA-LCK3-FDNW | Q5AA-LCK3-FDNW | 7 | Device Power Issues
7 | Q5AA-GHXM-TRTK | Q5AA-GHXM-TRTK | 7 | Device Power Issues
8 | Q5AA-EZ6A-S56Y | Q5AA-EZ6A-S56Y | 7 | Device Power Issues
9 | Q5AR-527V-Z8YR | Q5AR-527V-Z8YR | 7 | Device Power Issues
10 | Q3KG-XSEX-EG6A | Q3KG-XSEX-EG6A | 6 | Device Power Issues
11 | Q5AA-ASYH-AKEA | Q5AA-ASYH-AKEA | 6 | Device Power Issues
12 | Q3KG-8U94-FMUC | Q3KG-8U94-FMUC | 5 | Client Side Activity
JFL – Proactive Quarterly Review
4

## Slide 12
SITE REVIEW · 4 OF 8
Noida – AP and Switch statistical analystics
Access Point Breakdown
Chart: 
| Device Power Issues | ISP Issue | Client Side Activity
Incidents | 25 | 5 | 1
Rack-wise Switch Uptime %
RACK# | Uptime %
Core | 97.86%
JFL-GNSC-TR-AC-SW-01 | 100.00%
JFL-GNSC-BP-AC-SW-01 | 100.00%
JFL-GNSC-TP-AC-SW-01 | 96.59%
JFL-GNSC-LT-AC-SW-01 | 100.00%
JFL-GNSC-PO-AC-SW-01 | 100.00%
JFL-GNSC-RE-AC-SW-01 | 100.00%
JFL-GNSC-NCK-AC-SW-02 | 100.00%
JFL-GNSC-GF-AC-SW-03 | 100.00%
JFL-GNSC-DA-AC-SW-03 | 100.00%
JFL-GNSC-CLC-SW-03 | 100.00%
JFL-GNSC-RO-SW01 | 100.00%
JFL-GNSC-CK-AC-SW-02 | 100.00%
JFL-GNMC-2F-AC-ST-01 | 100.00%
JFL-GNMC-TR-AV-SW-01 | 100.00%
JFL-GNMC-3F-AC-ST-01 | 100.00%
JFL-GNMC-1F-LB-AC-SW-01 | 100.00%
JFL-GNMC-GF-AC-ST-01 | 97.10%
JFL – Proactive Quarterly Review
3

## Slide 13
SITE REVIEW · 4 OF 8
Noida — Switch Uptime Report
100%
Aggregated Switch Uptime
0
Switches Monitored
0
Primary RCA Driver
0
Switches at 100% Uptime
# | Hostname | Serial Number | Rack Number | Uptime %
1 | JFL-GNSC-CORE-SW-ST-01 [2] | Q5TN-DGC5-M8QZ | Core | 97.54%
2 | JFL-GNSC-CORE-SW-ST-01 [1] | Q5TN-NF5F-N32X | Core | 98.19%
3 | JFL-GNSC-TR-AC-SW-01 | FJC29021TWN | JFL-GNSC-TR-AC-SW-01 | 100.00%
4 | JFL-GNSC-BP-AC-SW-01 | FJC290222AL | JFL-GNSC-BP-AC-SW-01 | 100.00%
5 | JFL-GNSC-TP-AC-SW-01 | FJC290222SV | JFL-GNSC-TP-AC-SW-01 | 96.59%
6 | JFL-GNSC-LT-AC-SW-01 | FJC29021TTW | JFL-GNSC-LT-AC-SW-01 | 100.00%
7 | JFL-GNSC-PO-AC-SW-01 | FJC29021TPQ | JFL-GNSC-PO-AC-SW-01 | 100.00%
8 | JFL-GNSC-RE-AC-SW-01 | FJC29021TNP | JFL-GNSC-RE-AC-SW-01 | 100.00%
9 | JFL-GNSC-NCK-AC-SW-02 | FVH2914L0JY | JFL-GNSC-NCK-AC-SW-02 | 100.00%
10 | JFL-GNSC-GF-AC-SW-03 | FVH2914L0BV | JFL-GNSC-GF-AC-SW-03 | 100.00%
11 | JFL-GNSC-DA-AC-SW-03 | FVH2914L0QD | JFL-GNSC-DA-AC-SW-03 | 100.00%
12 | JFL-GNSC-CLC-SW-03 | FVH2913LEGS | JFL-GNSC-CLC-SW-03 | 100.00%
JFL – Proactive Quarterly Review
4

## Slide 14
SITE REVIEW · 4 OF 8
Noida — AP Incidents & RCA
0
Total number of incidents
0
Met Cases
0
Breach Cases
0
Primary RCA Driver
# | Hostname | Serial Number | No of Incidents | Primary RCA Driver
1 | Q3KG-JH9T-FL7Z | Q3KG-JH9T-FL7Z | 13 | Device Power Issues
2 | Q3KG-Y2PU-4DWW | Q3KG-Y2PU-4DWW | 9 | Device Power Issues
3 | Q3KG-GWW5-CHJC | Q3KG-GWW5-CHJC | 9 | Device Power Issues
4 | Q5AA-XGDL-V7JB | Q5AA-XGDL-V7JB | 8 | Device Power Issues
5 | Q5AA-FRBE-94N5 | Q5AA-FRBE-94N5 | 7 | Device Power Issues
6 | Q5AA-LCK3-FDNW | Q5AA-LCK3-FDNW | 7 | Device Power Issues
7 | Q5AA-GHXM-TRTK | Q5AA-GHXM-TRTK | 7 | Device Power Issues
8 | Q5AA-EZ6A-S56Y | Q5AA-EZ6A-S56Y | 7 | Device Power Issues
9 | Q5AR-527V-Z8YR | Q5AR-527V-Z8YR | 7 | Device Power Issues
10 | Q3KG-XSEX-EG6A | Q3KG-XSEX-EG6A | 6 | Device Power Issues
11 | Q5AA-ASYH-AKEA | Q5AA-ASYH-AKEA | 6 | Device Power Issues
12 | Q3KG-8U94-FMUC | Q3KG-8U94-FMUC | 5 | Client Side Activity
JFL – Proactive Quarterly Review
4

## Slide 15
SITE REVIEW · 5 OF 8
Mumbai-DC – AP and Switch statistical analystics
Access Point Breakdown
Chart: 
| Device Power Issues | ISP Issue | Client Side Activity
Incidents | 25 | 5 | 1
Rack-wise Switch Uptime %
RACK# | Uptime %
Default | 100.00%
JFL – Proactive Quarterly Review
3

## Slide 16
SITE REVIEW · 5 OF 8
Mumbai-DC — Switch Uptime Report
100%
Aggregated Switch Uptime
0
Switches Monitored
0
Primary RCA Driver
0
Switches at 100% Uptime
# | Hostname | Serial Number | Rack Number | Uptime %
1 | FCW2302L13B | FCW2302L13B | NA | 100.00%
2 | FCW2302G0TL | FCW2302G0TL | NA | 100.00%
3 | FCW2302D0ZJ | FCW2302D0ZJ | NA | 100.00%
4 | FCW2302D0Z7 | FCW2302D0Z7 | NA | 100.00%
5 | FCW2302AHDZ | FCW2302AHDZ | NA | 100.00%
6 | FCW2302DHGQ | FCW2302DHGQ | NA | 100.00%
7 | FOC2302U0WY | FOC2302U0WY | NA | 100.00%
8 | FCW2302DHTU | FCW2302DHTU | NA | 100.00%
JFL – Proactive Quarterly Review
4

## Slide 17
SITE REVIEW · 5 OF 8
Mumbai-DC — AP Incidents & RCA
0
Total number of incidents
0
Met Cases
0
Breach Cases
0
Primary RCA Driver
# | Hostname | Serial Number | No of Incidents | Primary RCA Driver
JFL – Proactive Quarterly Review
4

## Slide 18
SITE REVIEW · 6 OF 8
Hyderabad – AP and Switch statistical analystics
Access Point Breakdown
Chart: 
| Device Power Issues | ISP Issue | Client Side Activity
Incidents | 25 | 5 | 1
Rack-wise Switch Uptime %
RACK# | Uptime %
CORE | 100.00%
JFL – Proactive Quarterly Review
3

## Slide 19
SITE REVIEW · 6 OF 8
Hyderabad — Switch Uptime Report
100%
Aggregated Switch Uptime
0
Switches Monitored
0
Primary RCA Driver
0
Switches at 100% Uptime
# | Hostname | Serial Number | Rack Number | Uptime %
1 | JFL-HYD-CORE-2 | Q5JJ-GEWQ-X3MG | CORE | 100.00%
2 | JFL-HYD-CORE-1 | Q5JJ-Q88T-6XC7 | CORE | 100.00%
JFL – Proactive Quarterly Review
4

## Slide 20
SITE REVIEW · 6 OF 8
Hyderabad — AP Incidents & RCA
0
Total number of incidents
0
Met Cases
0
Breach Cases
0
Primary RCA Driver
# | Hostname | Serial Number | No of Incidents | Primary RCA Driver
JFL – Proactive Quarterly Review
4

## Slide 21
SITE REVIEW · 7 OF 8
Mohali – AP and Switch statistical analystics
Access Point Breakdown
Chart: 
| Device Power Issues | ISP Issue | Client Side Activity
Incidents | 25 | 5 | 1
Rack-wise Switch Uptime %
RACK# | Uptime %
WAREHOUSE | 98.87%
TRANSPORT ROOM | 95.87%
CORE | 99.32%
JFL – Proactive Quarterly Review
3

## Slide 22
SITE REVIEW · 7 OF 8
Mohali — Switch Uptime Report
100%
Aggregated Switch Uptime
0
Switches Monitored
0
Primary RCA Driver
0
Switches at 100% Uptime
# | Hostname | Serial Number | Rack Number | Uptime %
1 | JFL-MOHALI-ACC-SW-02(Warehouse) | Q3LM-TGAF-Q97P | WAREHOUSE | 98.87%
2 | JFL-MOHALI-ACC-SW-01(Transport Room) | Q3LP-2PSJ-6DLB | TRANSPORT ROOM | 95.87%
3 | JFL-MOHALI-CORE-02 | Q5JG-NJW9-ABBQ | CORE | 98.65%
4 | JFL-MOHALI-CORE-01 | Q5JJ-3TZH-2HV5 | CORE | 100.00%
JFL – Proactive Quarterly Review
4

## Slide 23
SITE REVIEW · 7 OF 8
Mohali — AP Incidents & RCA
0
Total number of incidents
0
Met Cases
0
Breach Cases
0
Primary RCA Driver
# | Hostname | Serial Number | No of Incidents | Primary RCA Driver
1 | Q3LP-2PSJ-6DLB | Q3LP-2PSJ-6DLB | 7 | Device Power Issues
2 | Q5AR-A7VQ-MZJM | Q5AR-A7VQ-MZJM | 5 | Device Power Issues
3 | Q3KG-9RDD-U5HG | Q3KG-9RDD-U5HG | 5 | Device Power Issues
4 | Q3LM-TGAF-Q97P | Q3LM-TGAF-Q97P | 3 | Device Power Issues
5 | Q5AA-S8HG-F6YT | Q5AA-S8HG-F6YT | 3 | Device Power Issues
6 | Q5JJ-3TZH-2HV5 | Q5JJ-3TZH-2HV5 | 2 | New Configuration
7 | Q5JG-NJW9-ABBQ | Q5JG-NJW9-ABBQ | 2 | Device Power Issues
8 | Q5AA-MHPW-2YA8 | Q5AA-MHPW-2YA8 | 2 | Device Power Issues
9 | Q5AA-E8FN-53RX | Q5AA-E8FN-53RX | 2 | Device Power Issues
10 | Q5AA-8PQC-7V98 | Q5AA-8PQC-7V98 | 2 | Device Power Issues
11 | Q5AA-V3D8-DKEG | Q5AA-V3D8-DKEG | 2 | Client Side Activity
12 | Q5AA-GMN6-UE62 | Q5AA-GMN6-UE62 | 2 | New Configuration
JFL – Proactive Quarterly Review
4

## Slide 24
SITE REVIEW · 8 OF 8
Nagpur – AP and Switch statistical analystics
Access Point Breakdown
Chart: 
| Device Power Issues | ISP Issue | Client Side Activity
Incidents | 25 | 5 | 1
Rack-wise Switch Uptime %
RACK# | Uptime %
RACK 2 | 98.45%
RACK 3 | 99.99%
RACK 1 | 96.04%
JFL – Proactive Quarterly Review
3

## Slide 25
SITE REVIEW · 8 OF 8
Nagpur — Switch Uptime Report
100%
Aggregated Switch Uptime
0
Switches Monitored
0
Primary RCA Driver
0
Switches at 100% Uptime
# | Hostname | Serial Number | Rack Number | Uptime %
1 | JFL-NAG-SSC-SW04 | Q5JG-SL55-CZ9Z | RACK 2 | 99.99%
2 | JFL-NAG-SSC-SW03 | Q5JG-STQ9-EUPF | RACK 3 | 99.99%
3 | JFL-NAG-SSC-SW02 | Q5JG-TM9S-PLFP | RACK 2 | 96.91%
4 | JFL-NAG-SSC-SW01 | Q5JJ-68KZ-MXAS | RACK 1 | 96.04%
JFL – Proactive Quarterly Review
4

## Slide 26
SITE REVIEW · 8 OF 8
Nagpur — AP Incidents & RCA
0
Total number of incidents
0
Met Cases
0
Breach Cases
0
Primary RCA Driver
# | Hostname | Serial Number | No of Incidents | Primary RCA Driver
1 | Q5JJ-68KZ-MXAS | Q5JJ-68KZ-MXAS | 26 | Third Party Device issue
2 | Q5JG-TM9S-PLFP | Q5JG-TM9S-PLFP | 8 | Client Side Activity
3 | Q3KG-FBVZ-2RBN | Q3KG-FBVZ-2RBN | 2 | Client Side Activity
4 | Q5JG-SL55-CZ9Z | Q5JG-SL55-CZ9Z | 2 | Client Side Activity
5 | Q5JG-STQ9-EUPF | Q5JG-STQ9-EUPF | 2 | Client Side Activity
6 | Q3KG-P7GS-UMEQ | Q3KG-P7GS-UMEQ | 1 | Client Side Activity
7 | Q3KG-MBCN-DSBC | Q3KG-MBCN-DSBC | 1 | Client Side Activity
8 | Q5AR-4FGW-G4PW | Q5AR-4FGW-G4PW | 1 | Client Side Activity
9 | Q2GW-KK6C-3U9A | Q2GW-KK6C-3U9A | 1 | New Configuration
10 | FVH2903L6L7 | FVH2903L6L7 | 1 | Client Side Activity
JFL – Proactive Quarterly Review
4

## Slide 27
Thank You
Proactive Data Systems · www.proactive.co.in