## Slide 1
Jubilant Foodworks Ltd (JFL)
Proactive Monthly Business Review
Reporting Period: 1 July 2026 - 31 July 2026
Prepared by: Proactive Data Systems Pvt. Ltd.
Classification: CONFIDENTIAL
Generated: 13 August 2026
www.proactive.co.in | Proactive Data Systems Pvt. Ltd.

## Slide 2
TABLE OF CONTENTS
Jubilant Foodworks Ltd (JFL) QBR Report · 1 July 2026 - 31 July 2026
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 2
Aug 2026
01
Executive Summary
KPIs, overall health, and AI-generated executive narrative
Slide 3
02
Infrastructure Overview
Network health, device inventory, and per-site infrastructure breakdown
Slide 4–6
03
Incident & RCA Analysis
Incident trends, root cause Pareto analysis, and site-RCA heatmap
Slide 7–9
04
SLA & Ticket Analytics
SLA compliance, MTTR, and ticket management summary
Slide 10–11
05
Site Health & Risk Assessment
Site health ranking and traffic-light risk assessment
Slide 12–13
06
Site Reviews (8 Sites)
Detailed per-site operational review, analytics, and incident tickets
Slide 14–37
07
Recommendations & Action Plan
AI-generated recommendations and prioritized action tracker
Slide 38–39
08
Appendix & Raw Data Logs
Complete device inventories, switch/AP logs, and master incident audit trail
Slide 40–44

## Slide 3
EXECUTIVE SUMMARY
Jubilant Foodworks Ltd (JFL) · 1 July 2026 - 31 July 2026 · Quarterly Business Review
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 3
Aug 2026
8
Total Sites
372
Active Devices
148
Total Switches
224
Access Points
98.24%
Overall Uptime
171
Total Incidents
77.69%
Incident-Free %
81.45%
SLA Compliance
AI Executive Summary — 1 July 2026 - 31 July 2026
• Overall network uptime was 98.24%, marginally below the 99.9% SLA target, requiring corrective action.
• A total of 171 incidents were recorded, with Greater Noida contributing the highest volume (107 incidents), primarily driven by Device Power Issues.
• Mumbai achieved the strongest health score while Mohali reported the lowest at 73.09.
• SLA compliance stood at 81.45%; targeted remediation is recommended to meet contractual obligations.
• 77.7% of all monitored devices remained incident-free throughout the reporting period.
TOP ROOT CAUSE ANALYSIS DRIVERS
Device Power Issues
50.9% (87)
Client Side Activity
35.1% (60)
On Hold
5.8% (10)
Others
2.9% (5)

## Slide 4
OVERALL NETWORK HEALTH
Infrastructure Health Assessment Across All Monitored Sites
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 4
Aug 2026
OVERALL
HEALTH SCORE
90.0
GOOD
SITE HEALTH SCORES
Bangalore
92.3
Good
Greater Noida
85.1
Good
Guwahati
83.3
Fair
Hyderabad
85.8
Good
Mohali
73.1
Fair
Mumbai
100.0
Excellent
Nagpur
87.3
Good
Noida
98.8
Excellent
98.24%
Switch Uptime
77.69%
Incident-Free %
81.45%
SLA Compliance
171
Total Incidents

## Slide 5
EXECUTIVE SUMMARY — ALL SITES
Consolidated SLA Performance & RCA Driver Summary Across Monitored Sites
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 5
Aug 2026
Site | No of devices | Proactive Switch Uptime | JFL Switch Uptime | Primary RCA Driver (Switches) | AP Incidents (Unique) | Primary RCA Driver (AP)
Bangalore | 182 | 99.99 | 98.85 | Device Power Issues | 12 / 11 | Device Power Issues
Greater Noida | 122 | 99.97 | 92.97 | Others | 103 / 33 | Client Side Activity
Guwahati | 5 | 99.99 | 97.03 | Device Power Issues | 1 / 1 | Device Power Issues
Hyderabad | 16 | 99.94 | 74.87 | Device Power Issues | 4 / 4 | Device Power Issues
Mohali | 19 | 100.00 | 100.00 | Stable Operations (No Incidents) | 19 / 12 | Device Power Issues
Mumbai | 8 | 100.00 | 100.00 | Stable Operations (No Incidents) | 0 / 0 | Stable Operations (No Incidents)
Nagpur | 10 | 99.94 | 90.89 | Third Party Device issue / Others | 1 / 1 | Client Side Activity
Noida | 83 | 100.00 | 100.00 | Stable Operations (No Incidents) | 1 / 1 | Hardware Component Failures
This review consolidates SLA performance, rack and switch uptime, and access-point incident RCA for all eight monitored JFL sites for the period 1 July 2026 - 31 July 2026.

## Slide 6
INVENTORY SUMMARY
Active Production Devices vs. Stock Inventory — SLA Exclusion Analysis
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 6
Aug 2026
445
Total Devices
372
Active (In-SLA)
73
Stock (Excl. SLA)
83.6%
SLA Coverage
STOCK INVENTORY BY SITE — EXCLUDED FROM SLA CALCULATIONS
Site | Stock Devices | Note
Bangalore | 55 | Excluded from SLA calculations per business specification
Greater Noida | 8 | Excluded from SLA calculations per business specification
Noida | 6 | Excluded from SLA calculations per business specification
Mumbai | 4 | Excluded from SLA calculations per business specification
Inventory Insight
• Total monitored device estate: 445 devices across 8 sites.
• 372 devices (83.6%) are production-active and subject to SLA accountability.
• 73 stock/spare devices are excluded from SLA penalty calculations per operational specification.
• Stock devices represent spare/replacement capacity. Utilization should be reviewed quarterly.

## Slide 7
INCIDENT OVERVIEW
Total Incident Volume, Site Distribution & Category Breakdown
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 7
Aug 2026
171
Total Incidents
11
Open
160
Closed/Resolved
0
Critical (P1)
INCIDENTS BY SITE
Chart: 
| Bangalore | Greater No | Guwahati | Hyderabad | Mohali | Mumbai | Nagpur | Noida
Incidents | 28 | 107 | 2 | 5 | 19 | 0 | 9 | 1
INCIDENTS BY PRIORITY
Non-Core
87.1%
Core
8.8%
P3
2.3%
P4
1.8%
Incident Overview — Key Findings
• 171 total incidents were recorded during the reporting period.
• Greater Noida contributed the highest incident volume with 107 incidents.
• 160 incidents (93.6%) were resolved and closed.
• No critical P1 incidents were recorded — commendable operational performance.

## Slide 8
ROOT CAUSE ANALYSIS — PARETO
Top Incident Drivers by Frequency & Cumulative Percentage
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 8
Aug 2026
Chart: 
RCA FREQUENCY TABLE
Root Cause | Count | %
Device Power Issues | 87 | 50.9%
Client Side Activity | 60 | 35.1%
On Hold | 10 | 5.8%
Others | 5 | 2.9%
Hardware Component Failures | 3 | 1.8%
New Configuration | 3 | 1.8%
Third Party Device issue | 3 | 1.8%
REMEDIATION RECOMMENDATIONS
High
Device Power Issues: Inspect and replace faulty UPS/power infrastructure. Schedule preventive power audits.
30 days
High
Client Side Activity: High-frequency RCA (35.1%). Conduct root cause workshop with operations team.
14 days
Medium
On Hold: Investigate and mitigate On Hold failures.
Q2 FY2026

## Slide 9
RCA INCIDENT HEATMAP
Site vs. Root Cause Category — Incident Frequency Matrix
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 9
Aug 2026
Device Power Issue
Client Side Activi
On Hold
Others
Hardware Component
New Configuration
Bangalore
21
1
5
1
Greater Noida
47
52
5
2
1
Guwahati
2
Hyderabad
5
Mohali
12
6
1
Mumbai
Nagpur
1
3
2
Noida
1
Intensity:
Low (1-2)
Low-Med
Medium
High
Critical

## Slide 10
SLA PERFORMANCE DASHBOARD
SLA Target: 99.9% · 1 July 2026 - 31 July 2026
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 10
Aug 2026
SLA COMPLIANCE
81.45%
Target: 99.9%
SLA BREACH
98.24%
Overall Uptime
77.69%
Incident-Free %
99.9%
SLA Target
SITE-WISE SLA COMPLIANCE OVERVIEW
Site | Devices | Switch Uptime | Incident-Free % | Health Score | SLA Status
Bangalore | 182 | 98.85% | 81.10% | 92.3 (Good) | BREACH
Greater Noida | 122 | 92.97% | 68.42% | 85.1 (Good) | BREACH
Guwahati | 5 | 97.03% | 60.00% | 83.3 (Fair) | BREACH
Hyderabad | 16 | 74.87% | 68.75% | 85.8 (Good) | BREACH
Mohali | 19 | 100.00% | 36.84% | 73.1 (Fair) | MET
Mumbai | 8 | 100.00% | 100.00% | 100.0 (Excellent) | MET
Nagpur | 10 | 90.89% | 80.00% | 87.3 (Good) | BREACH
Noida | 83 | 100.00% | 97.40% | 98.8 (Excellent) | MET
SLA Performance Insight
• Overall SLA compliance: 81.45% against a 99.9% target.
• SLA compliance is below target. Immediate remediation is recommended.
• Network uptime averaged 98.24% across all monitored infrastructure.

## Slide 11
TICKET ANALYTICS
Incident Ticket Volume, Priority Distribution & Resolution Performance
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 11
Aug 2026
171
Total Tickets
11
Open
160
Closed
0
Critical (P1)
TOP 10 INCIDENT TICKETS BY PRIORITY
Ticket # | Device / Host | Category | Priority | Status | Primary RCA
PRO/INC/56204 | JFL-GNSC-AP28 | Meraki Managed Ser | NON-CORE | Closed | Device Power Issues
PRO/INC/56205 | JFL-GNSC-AP27 | Meraki Managed Ser | NON-CORE | Closed | Device Power Issues
PRO/INC/56212 | JFL-Mohali-SCC-AP12 | Meraki Managed Ser | NON-CORE | Closed | Device Power Issues
PRO/INC/56214 | JFL-GNSC-AP26 | Meraki Managed Ser | NON-CORE | Closed | Device Power Issues
PRO/INC/56215 | JFL-GNSC-AP27 | Meraki Managed Ser | NON-CORE | Closed | Device Power Issues
PRO/INC/56221 | JFL-GNSC-AP29 | Meraki Managed Ser | NON-CORE | Closed | Device Power Issues
PRO/INC/56220 | JFL-GNSC-AP04 | Meraki Managed Ser | NON-CORE | Closed | Device Power Issues
PRO/INC/56229 | JFL-GNMC-NCK-SW-02 | Meraki Managed Ser | P3 | Closed | Hardware Component Failures
PRO/INC/56409 | SEC-CAB-SW2 | Meraki Managed Ser | P4 | Closed | New Configuration
PRO/INC/56422 | STOCK | Meraki Managed Ser | NON-CORE | Closed | Client Side Activity
Ticket Analytics Insight
• 171 incident tickets were processed during the reporting period.
• Resolution rate: 93.6% — 160 tickets resolved, 11 pending closure.
• No critical (P1) tickets recorded — excellent incident prioritization.

## Slide 12
SITE HEALTH RANKING
All Sites Ranked from Healthiest to Most Critical
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 12
Aug 2026
Rank | Site | Health Score | Switch Uptime | Incident-Free % | Incident Count | Status
1st | Mumbai | 100.0 / 100 | 100.00% | 100.00% | 0 | LOW (Excellent)
2nd | Noida | 98.8 / 100 | 100.00% | 97.40% | 1 | LOW (Excellent)
3rd | Bangalore | 92.3 / 100 | 98.85% | 81.10% | 28 | MODERATE (Good)
4 | Nagpur | 87.3 / 100 | 90.89% | 80.00% | 9 | MODERATE (Good)
5 | Hyderabad | 85.8 / 100 | 74.87% | 68.75% | 5 | MODERATE (Good)
6 | Greater Noida | 85.1 / 100 | 92.97% | 68.42% | 107 | MODERATE (Good)
7 | Guwahati | 83.3 / 100 | 97.03% | 60.00% | 2 | ELEVATED (Fair)
8 | Mohali | 73.1 / 100 | 100.00% | 36.84% | 19 | ELEVATED (Fair)
Site Health Ranking — Key Findings
• Mumbai leads the network with the highest health score of 100.00 — strong operational performance.
• Mohali reported the lowest health score of 73.09 and requires priority intervention.
• 3 out of 8 sites are in excellent or good health.

## Slide 13
RISK ASSESSMENT
Site-Level Risk Classification with Prioritized Remediation Recommendations
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 13
Aug 2026
Site | Health Score | Risk Level | Top RCA | Recommendation
Mohali | 73.1 / 100 | ELEVATED | Device Power Issues | PRIORITY: Investigate Device Power Issues incidents. Schedule site visit
Guwahati | 83.3 / 100 | ELEVATED | Device Power Issues | PRIORITY: Investigate Device Power Issues incidents. Schedule site visit
Greater Noida | 85.1 / 100 | MODERATE | Client Side Activity | MONITOR: Review Client Side Activity trends. Consider preventive mainten
Hyderabad | 85.8 / 100 | MODERATE | Device Power Issues | MONITOR: Review Device Power Issues trends. Consider preventive maintena
Nagpur | 87.3 / 100 | MODERATE | Third Party Device iss | MONITOR: Review Third Party Device issue trends. Consider preventive mai
Bangalore | 92.3 / 100 | MODERATE | Device Power Issues | MONITOR: Review Device Power Issues trends. Consider preventive maintena
Noida | 98.8 / 100 | LOW | Hardware Component Fai | Continue standard monitoring. No immediate action required.
Mumbai | 100.0 / 100 | LOW | Stable Operations (No | Continue standard monitoring. No immediate action required.
LOW (Score >= 95)
MODERATE (85-94)
ELEVATED (70-84)
HIGH (Score < 70)
Risk Assessment — Executive Summary
• No sites are currently in high-risk condition — commendable network stability.
• Primary systemic risk driver across the estate: Device Power Issues.
• Proactive intervention at elevated-risk sites will prevent escalation to high-risk status.

## Slide 14
Bangalore — SITE OVERVIEW
Site Review 1 of 8 · Operational KPIs, Health Assessment & AI Insights
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 14
Aug 2026
182
Active Devices
49
Switches
78
Access Points
98.85%
Switch Uptime
81.10%
Incident-Free %
92.33 (Good)
Health Score
BREACH
SLA Status
28
Total Incidents
KEY HIGHLIGHTS
Site health score of 92.33 indicates strong operational stability.
28 total incidents logged; primary driver: Device Power Issues.
KEY RISKS
Switch uptime at 98.85% — below SLA target of 99.9%.
Only 81.1% of devices are incident-free — investigate recurring failures.
Recurring Device Power Issues incidents require infrastructure investigation.
AI Site Summary — Bangalore
• Bangalore operates 182 active devices (49 switches, 78 APs) in the current reporting period.
• Switch uptime: 98.85% — below the 99.9% SLA threshold.
• 28 incidents recorded; primary root cause: Device Power Issues.

## Slide 15
Bangalore — OPERATIONAL ANALYTICS
Site Review 1 of 8 · Switch Uptime, AP Distribution & Incident Analysis
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 15
Aug 2026
98.85%
Avg Switch Uptime
41
Switches @ 100%
78
Total APs
28
Total Incidents
SWITCH UPTIME REPORT (TOP 12)
# | Hostname | Serial No. | Rack | Uptime % | Status
1 | CORE-1 | CORE-1 | CORE | 100.00% | OK
2 | CORE-2 | CORE-2 | CORE | 100.00% | OK
3 | GF-R1-SW3 | GF-R1-SW3 | GF-R1 | 100.00% | OK
4 | 1F-R1-SW4 | 1F-R1-SW4 | 1F-R1 | 100.00% | OK
5 | SIDE-PLANT1 | SIDE-PLANT1 | SIDE-PLANT1 | 100.00% | OK
6 | 2F-R4-SW2 | 2F-R4-SW2 | 2F-R4 | 100.00% | OK
7 | 2F-R4-SW1 | 2F-R4-SW1 | 2F-R4 | 100.00% | OK
8 | 2F-R4-SW3 | 2F-R4-SW3 | 2F-R4 | 100.00% | OK
9 | GF-R5-SW3 | GF-R5-SW3 | GF-R5 | 100.00% | OK
10 | MZ-R2-SW1 | MZ-R2-SW1 | MZ-R2 | 100.00% | OK
11 | MZ-R1-SW | MZ-R1-SW | MZ-R1 | 100.00% | OK
12 | GF-R5-SW1 | GF-R5-SW1 | GF-R5 | 100.00% | OK
SITE RCA DISTRIBUTION
Device Power Issue: 21 (75.0%)
On Hold: 5 (17.9%)
New Configuration: 1 (3.6%)
Client Side Activi: 1 (3.6%)

## Slide 16
Greater Noida — SITE OVERVIEW
Site Review 2 of 8 · Operational KPIs, Health Assessment & AI Insights
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 16
Aug 2026
122
Active Devices
42
Switches
72
Access Points
92.97%
Switch Uptime
68.42%
Incident-Free %
85.14 (Good)
Health Score
BREACH
SLA Status
107
Total Incidents
KEY HIGHLIGHTS
107 total incidents logged; primary driver: Others.
KEY RISKS
Switch uptime at 92.97% — below SLA target of 99.9%.
Only 68.4% of devices are incident-free — investigate recurring failures.
Health score of 85.14 indicates moderate risk requiring attention.
AI Site Summary — Greater Noida
• Greater Noida operates 122 active devices (42 switches, 72 APs) in the current reporting period.
• Switch uptime: 92.97% — below the 99.9% SLA threshold.
• 107 incidents recorded; primary root cause: Others.

## Slide 17
Greater Noida — OPERATIONAL ANALYTICS
Site Review 2 of 8 · Switch Uptime, AP Distribution & Incident Analysis
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 17
Aug 2026
92.97%
Avg Switch Uptime
40
Switches @ 100%
72
Total APs
107
Total Incidents
SWITCH UPTIME REPORT (TOP 12)
# | Hostname | Serial No. | Rack | Uptime % | Status
1 | JFL-GNSC-CORE-SW-ST-01 [2] | JFL-GNSC-CORE-SW-ST-01 [2] | Core | 100.00% | OK
2 | JFL-GNSC-CORE-SW-ST-01 [1] | JFL-GNSC-CORE-SW-ST-01 [1] | Core | 100.00% | OK
3 | JFL-GNSC-TR-AC-SW-01 | JFL-GNSC-TR-AC-SW-01 | JFL-GNSC-TR-AC-SW-01 | 93.68% | BREACH
4 | JFL-GNSC-BP-AC-SW-01 | JFL-GNSC-BP-AC-SW-01 | JFL-GNSC-BP-AC-SW-01 | 100.00% | OK
5 | JFL-GNSC-TP-AC-SW-01 | JFL-GNSC-TP-AC-SW-01 | JFL-GNSC-TP-AC-SW-01 | 100.00% | OK
6 | JFL-GNSC-LT-AC-SW-01 | JFL-GNSC-LT-AC-SW-01 | JFL-GNSC-LT-AC-SW-01 | 100.00% | OK
7 | JFL-GNSC-PO-AC-SW-01 | JFL-GNSC-PO-AC-SW-01 | JFL-GNSC-PO-AC-SW-01 | 100.00% | OK
8 | JFL-GNSC-RE-AC-SW-01 | JFL-GNSC-RE-AC-SW-01 | JFL-GNSC-RE-AC-SW-01 | 100.00% | OK
9 | JFL-GNSC-NCK-AC-SW-02 | JFL-GNSC-NCK-AC-SW-02 | JFL-GNSC-NCK-AC-SW-02 | 100.00% | OK
10 | JFL-GNSC-GF-AC-SW-03 | JFL-GNSC-GF-AC-SW-03 | JFL-GNSC-GF-AC-SW-03 | 100.00% | OK
11 | JFL-GNSC-DA-AC-SW-03 | JFL-GNSC-DA-AC-SW-03 | JFL-GNSC-DA-AC-SW-03 | 100.00% | OK
12 | JFL-GNSC-CLC-SW-03 | JFL-GNSC-CLC-SW-03 | JFL-GNSC-CLC-SW-03 | 100.00% | OK
SITE RCA DISTRIBUTION
Client Side Activi: 52 (48.6%)
Device Power Issue: 47 (43.9%)
On Hold: 5 (4.7%)
Others: 2 (1.9%)

## Slide 18
Guwahati — SITE OVERVIEW
Site Review 3 of 8 · Operational KPIs, Health Assessment & AI Insights
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 18
Aug 2026
5
Active Devices
2
Switches
3
Access Points
97.03%
Switch Uptime
60.00%
Incident-Free %
83.29 (Fair)
Health Score
BREACH
SLA Status
2
Total Incidents
KEY HIGHLIGHTS
2 total incidents logged; primary driver: Device Power Issues.
KEY RISKS
Switch uptime at 97.03% — below SLA target of 99.9%.
Only 60.0% of devices are incident-free — investigate recurring failures.
Health score of 83.29 indicates moderate risk requiring attention.
AI Site Summary — Guwahati
• Guwahati operates 5 active devices (2 switches, 3 APs) in the current reporting period.
• Switch uptime: 97.03% — below the 99.9% SLA threshold.
• 2 incidents recorded; primary root cause: Device Power Issues.

## Slide 19
Guwahati — OPERATIONAL ANALYTICS
Site Review 3 of 8 · Switch Uptime, AP Distribution & Incident Analysis
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 19
Aug 2026
97.03%
Avg Switch Uptime
1
Switches @ 100%
3
Total APs
2
Total Incidents
SWITCH UPTIME REPORT (TOP 12)
# | Hostname | Serial No. | Rack | Uptime % | Status
1 | JFL-Guwahati-CORE-02 | JFL-Guwahati-CORE-02 | CORE | 100.00% | OK
2 | JFL-Guwahati-CORE-01 | JFL-Guwahati-CORE-01 | CORE | 97.03% | BREACH
SITE RCA DISTRIBUTION
Device Power Issue: 2 (100.0%)

## Slide 20
Guwahati — INCIDENT & TICKET REVIEW
Site Review 3 of 8 · Top 10 Tickets, RCA Summary & Recommended Actions
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 20
Aug 2026
2
Total Tickets
0
Open
2
Closed
0
Critical (P1)
TOP 10 INCIDENT TICKETS — GUWAHATI
Ticket # | Device / Host | Category | Priority | Status | Primary RCA
PRO/INC/56885 | JFL-Guwahati-CORE-01 | Meraki Managed S | CORE | Closed | Device Power Issues
PRO/INC/56886 | JFL-Guwahati-SSC-AP-03 | Meraki Managed S | NON-CORE | Closed | Device Power Issues
RECOMMENDED ACTIONS
High
Inspect and replace faulty UPS/power infrastructure. Schedule preventive power audits. [Timeline: 30 days]

## Slide 21
Hyderabad — SITE OVERVIEW
Site Review 4 of 8 · Operational KPIs, Health Assessment & AI Insights
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 21
Aug 2026
16
Active Devices
2
Switches
14
Access Points
74.87%
Switch Uptime
68.75%
Incident-Free %
85.79 (Good)
Health Score
BREACH
SLA Status
5
Total Incidents
KEY HIGHLIGHTS
5 total incidents logged; primary driver: Device Power Issues.
KEY RISKS
Switch uptime at 74.87% — below SLA target of 99.9%.
Only 68.8% of devices are incident-free — investigate recurring failures.
Health score of 85.79 indicates moderate risk requiring attention.
AI Site Summary — Hyderabad
• Hyderabad operates 16 active devices (2 switches, 14 APs) in the current reporting period.
• Switch uptime: 74.87% — below the 99.9% SLA threshold.
• 5 incidents recorded; primary root cause: Device Power Issues.

## Slide 22
Hyderabad — OPERATIONAL ANALYTICS
Site Review 4 of 8 · Switch Uptime, AP Distribution & Incident Analysis
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 22
Aug 2026
74.87%
Avg Switch Uptime
1
Switches @ 100%
14
Total APs
5
Total Incidents
SWITCH UPTIME REPORT (TOP 12)
# | Hostname | Serial No. | Rack | Uptime % | Status
1 | JFL-HYD-CORE-2 | JFL-HYD-CORE-2 | CORE | 100.00% | OK
2 | JFL-HYD-CORE-1 | JFL-HYD-CORE-1 | CORE | 74.87% | BREACH
SITE RCA DISTRIBUTION
Device Power Issue: 5 (100.0%)

## Slide 23
Mohali — SITE OVERVIEW
Site Review 5 of 8 · Operational KPIs, Health Assessment & AI Insights
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 23
Aug 2026
19
Active Devices
4
Switches
15
Access Points
100.00%
Switch Uptime
36.84%
Incident-Free %
73.09 (Fair)
Health Score
MET
SLA Status
19
Total Incidents
KEY HIGHLIGHTS
Switch uptime at 100.00% — exceeding SLA threshold of 99.9%.
19 total incidents logged; primary driver: Stable Operations (No Incidents).
KEY RISKS
Only 36.8% of devices are incident-free — investigate recurring failures.
Critical health score of 73.09 — immediate intervention recommended.
Recurring Stable Operations (No Incidents) incidents require infrastructure investigation.
AI Site Summary — Mohali
• Mohali operates 19 active devices (4 switches, 15 APs) in the current reporting period.
• Switch uptime: 100.00% — within the 99.9% SLA threshold.
• 19 incidents recorded; primary root cause: Stable Operations (No Incidents).

## Slide 24
Mohali — OPERATIONAL ANALYTICS
Site Review 5 of 8 · Switch Uptime, AP Distribution & Incident Analysis
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 24
Aug 2026
100.00%
Avg Switch Uptime
4
Switches @ 100%
15
Total APs
19
Total Incidents
SWITCH UPTIME REPORT (TOP 12)
# | Hostname | Serial No. | Rack | Uptime % | Status
1 | JFL-MOHALI-ACC-SW-02(Warehouse) | JFL-MOHALI-ACC-SW-02(Warehouse) | WAREHOUSE | 100.00% | OK
2 | JFL-MOHALI-ACC-SW-01(Transport Room) | JFL-MOHALI-ACC-SW-01(Transport Room) | TRANSPORT ROOM | 100.00% | OK
3 | JFL-MOHALI-CORE-02 | JFL-MOHALI-CORE-02 | CORE | 100.00% | OK
4 | JFL-MOHALI-CORE-01 | JFL-MOHALI-CORE-01 | CORE | 100.00% | OK
SITE RCA DISTRIBUTION
Device Power Issue: 12 (63.2%)
Client Side Activi: 6 (31.6%)
Hardware Component: 1 (5.3%)

## Slide 25
Mohali — INCIDENT & TICKET REVIEW
Site Review 5 of 8 · Top 10 Tickets, RCA Summary & Recommended Actions
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 25
Aug 2026
19
Total Tickets
0
Open
19
Closed
0
Critical (P1)
TOP 10 INCIDENT TICKETS — MOHALI
Ticket # | Device / Host | Category | Priority | Status | Primary RCA
PRO/INC/56212 | JFL-Mohali-SCC-AP12 | Meraki Managed S | NON-CORE | Closed | Device Power Issues
PRO/INC/56582 | JFL-Mohali-SCC-AP04 NEW | Meraki Managed S | NON-CORE | Closed | Device Power Issues
PRO/INC/56826 | JFL-Mohali-SCC-AP02 | Meraki Managed S | NON-CORE | Closed | Client Side Activity
PRO/INC/56828 | JFL-Mohali-SCC-AP08 | Meraki Managed S | NON-CORE | Closed | Client Side Activity
PRO/INC/56827 | JFL-Mohali-SCC-AP05 | Meraki Managed S | NON-CORE | Closed | Client Side Activity
PRO/INC/56829 | JFL-Mohali-SCC-AP13 | Meraki Managed S | NON-CORE | Closed | Client Side Activity
PRO/INC/57204 | JFL-Mohali-SCC-AP04 NEW | Meraki Managed S | NON-CORE | Closed | Hardware Component Failures
PRO/INC/57320 | JFL-Mohali-SCC-AP04 NEW | Meraki Managed S | NON-CORE | Closed | Device Power Issues
PRO/INC/57375 | JFL-Mohali-SCC-AP04 NEW | Meraki Managed S | NON-CORE | Closed | Device Power Issues
PRO/INC/57405 | JFL-Mohali-SCC-AP04 NEW | Meraki Managed S | NON-CORE | Closed | Device Power Issues
RECOMMENDED ACTIONS
High
Inspect and replace faulty UPS/power infrastructure. Schedule preventive power audits. [Timeline: 30 days]
High
High-frequency RCA (31.6%). Conduct root cause workshop with operations team. [Timeline: 14 days]

## Slide 26
Mumbai — HEALTHY SITE REVIEW
Site Review 6 of 8 · Operational Excellence & 100% SLA Compliance
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 26
Aug 2026
8
Active Devices
4 / 0
Switches / APs
100.00%
Switch Uptime
100.00%
Incident-Free %
100.00 (Excellent)
Health Score
100.00%
SLA Compliance
OPERATIONAL EXCELLENCE HIGHLIGHTS
Maintained 100.00% operational SLA compliance throughout the reporting period.
Zero high-priority incident tickets recorded for active production infrastructure.
All 4 switches and 0 access points operated without SLA breaches.
Executive Summary — Mumbai
• Mumbai is a top-performing healthy site with an operational health score of 100.00.
• Infrastructure stability is high across all registered devices. No remediation action required for the upcoming reporting cycle.

## Slide 27
Nagpur — SITE OVERVIEW
Site Review 7 of 8 · Operational KPIs, Health Assessment & AI Insights
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 27
Aug 2026
10
Active Devices
4
Switches
6
Access Points
90.89%
Switch Uptime
80.00%
Incident-Free %
87.31 (Good)
Health Score
BREACH
SLA Status
9
Total Incidents
KEY HIGHLIGHTS
9 total incidents logged; primary driver: Third Party Device issue / Others.
KEY RISKS
Switch uptime at 90.89% — below SLA target of 99.9%.
Only 80.0% of devices are incident-free — investigate recurring failures.
Health score of 87.31 indicates moderate risk requiring attention.
AI Site Summary — Nagpur
• Nagpur operates 10 active devices (4 switches, 6 APs) in the current reporting period.
• Switch uptime: 90.89% — below the 99.9% SLA threshold.
• 9 incidents recorded; primary root cause: Third Party Device issue / Others.

## Slide 28
Nagpur — OPERATIONAL ANALYTICS
Site Review 7 of 8 · Switch Uptime, AP Distribution & Incident Analysis
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 28
Aug 2026
90.89%
Avg Switch Uptime
3
Switches @ 100%
6
Total APs
9
Total Incidents
SWITCH UPTIME REPORT (TOP 12)
# | Hostname | Serial No. | Rack | Uptime % | Status
1 | JFL-NAG-SSC-SW04 | JFL-NAG-SSC-SW04 | RACK 2 | 100.00% | OK
2 | JFL-NAG-SSC-SW03 | JFL-NAG-SSC-SW03 | RACK 3 | 100.00% | OK
3 | JFL-NAG-SSC-SW02 | JFL-NAG-SSC-SW02 | RACK 2 | 100.00% | OK
4 | JFL-NAG-SSC-SW01 | JFL-NAG-SSC-SW01 | RACK 1 | 27.15% | BREACH
SITE RCA DISTRIBUTION
Third Party Device: 3 (33.3%)
Others: 3 (33.3%)
New Configuration: 2 (22.2%)
Client Side Activi: 1 (11.1%)

## Slide 29
Noida — HEALTHY SITE REVIEW
Site Review 8 of 8 · Operational Excellence & 100% SLA Compliance
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 29
Aug 2026
83
Active Devices
41 / 36
Switches / APs
100.00%
Switch Uptime
97.40%
Incident-Free %
98.77 (Excellent)
Health Score
100.00%
SLA Compliance
OPERATIONAL EXCELLENCE HIGHLIGHTS
Maintained 100.00% operational SLA compliance throughout the reporting period.
Zero high-priority incident tickets recorded for active production infrastructure.
All 41 switches and 36 access points operated without SLA breaches.
Executive Summary — Noida
• Noida is a top-performing healthy site with an operational health score of 98.77.
• Infrastructure stability is high across all registered devices. No remediation action required for the upcoming reporting cycle.

## Slide 30
AI-GENERATED RECOMMENDATIONS
Priority-Based Remediation Plan Generated from Incident & Health Analytics
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 30
Aug 2026
HIGH PRIORITY — IMMEDIATE ACTION REQUIRED (0-30 DAYS)
HIGH
Address health degradation at Mohali (Score: 73.09). Conduct on-site audit and deploy rapid response
HIGH
Address health degradation at Guwahati (Score: 83.29). Conduct on-site audit and deploy rapid respon
HIGH
Address health degradation at Greater Noida (Score: 85.14). Conduct on-site audit and deploy rapid r
MEDIUM PRIORITY — ACTION REQUIRED (30-60 DAYS)
MED
Investigate and mitigate On Hold failures.
MED
Investigate and mitigate Others failures.
MED
Schedule hardware audit. Identify end-of-life devices for replacement.
LOW PRIORITY — STANDARD PRACTICE (60-90 DAYS)
LOW
Update network topology documentation for all 8 sites including current device serial inventories.
LOW
Conduct quarterly stakeholder review meetings with JFL IT leadership to align on operational priorities.
LOW
Evaluate proactive monitoring alert threshold tuning to reduce noise and improve incident detection accur

## Slide 31
ACTION PLAN TRACKER
Prioritized Action Items with Ownership, Timeline & Status
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 31
Aug 2026
Priority | Action | Owner | Timeline | Impact | Status
Critical | Remediate health degradation at Mohali (Score: 73.09) | Network Operations | 7 days | Very High | Open
High | Remediate health degradation at Guwahati (Score: 83.29) | Network Operations | 30 days | High | Open
High | Remediate health degradation at Greater Noida (Score: 8 | Network Operations | 30 days | High | Open
High | Root cause elimination for "Device Power Issues" (87 oc | Infrastructure Team | 45 days | High | In Progress
High | Root cause elimination for "Client Side Activity" (60 o | Infrastructure Team | 45 days | High | In Progress
High | Root cause elimination for "On Hold" (10 occurrences ac | Infrastructure Team | 45 days | High | In Progress
Medium | Quarterly firmware update across all network switches | Network Ops | Q2 FY2026 | Medium | Planned
Medium | AP placement review at sites with >30% AP incident rate | Wireless Team | 60 days | Medium | Planned
Low | Documentation update — network topology diagrams for al | Documentation | 90 days | Low | Planned
Low | Monthly proactive health check cadence review with JFL | Account Manager | Ongoing | Low | Active
Action Plan — Executive Note
• 6 high-priority actions require completion within 30-45 days to prevent SLA degradation.
• Action ownership has been assigned to respective operational teams. Regular follow-up recommended.
• This action plan should be reviewed and updated monthly with JFL IT leadership.

## Slide 32
APPENDIX
Detailed Inventory Logs & Raw Incident Records
Reference materials supporting Executive QBR analysis.

## Slide 33
APPENDIX — COMPLETE DEVICE INVENTORY
Full Monitored Active & Stock Device List
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 33
Aug 2026
# | Device ID / Serial | Device Type | Location / Site | Rack | Status
1 | JFL-Guwahati-SSC-AP-02 | AP | Guwahati | NA | Active Production
2 | JFL-Guwahati-SSC-AP-03 | AP | Guwahati | NA | Active Production
3 | JFL-Guwahati-SSC-AP-01 | AP | Guwahati | NA | Active Production
4 | JFL-Guwahati-CORE-02 | SW | Guwahati | CORE | Active Production
5 | JFL-Guwahati-CORE-01 | SW | Guwahati | CORE | Active Production
6 | JFL-Mohali-SCC-AP12 | AP | Mohali | NA | Active Production
7 | JFL-Mohali-SCC-AP04 NEW | AP | Mohali | NA | Active Production
8 | JFL-Mohali-SCC-AP15 | AP | Mohali | NA | Active Production
9 | JFL-MOHALI-ACC-SW-02(Warehouse) | SW | Mohali | WAREHOUSE | Active Production
10 | JFL-MOHALI-ACC-SW-01(Transport Room) | SW | Mohali | TRANSPORT ROOM | Active Production
11 | JFL-Mohali-SCC-AP10 | AP | Mohali | NA | Active Production
12 | JFL-Mohali-SCC-AP06 | AP | Mohali | NA | Active Production
Showing top 12 of 445 total monitored devices across all sites. Full dataset available in Excel export.

## Slide 34
APPENDIX — COMPLETE SWITCH INVENTORY
Network Switch Inventory & Effective Uptime Log
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 34
Aug 2026
# | Hostname / Device ID | Location | Rack | Uptime % | SLA Status
1 | JFL-Guwahati-CORE-02 | Guwahati | CORE | 100.00% | MET
2 | JFL-Guwahati-CORE-01 | Guwahati | CORE | 97.03% | BREACH
3 | JFL-MOHALI-ACC-SW-02(Warehouse) | Mohali | WAREHOUSE | 100.00% | MET
4 | JFL-MOHALI-ACC-SW-01(Transport Room) | Mohali | TRANSPORT ROOM | 100.00% | MET
5 | JFL-MOHALI-CORE-02 | Mohali | CORE | 100.00% | MET
6 | JFL-MOHALI-CORE-01 | Mohali | CORE | 100.00% | MET
7 | JFL-HYD-CORE-2 | Hyderabad | CORE | 100.00% | MET
8 | JFL-HYD-CORE-1 | Hyderabad | CORE | 74.87% | BREACH
9 | JFL-NAG-SSC-SW04 | Nagpur | RACK 2 | 100.00% | MET
10 | JFL-NAG-SSC-SW03 | Nagpur | RACK 3 | 100.00% | MET
11 | JFL-NAG-SSC-SW02 | Nagpur | RACK 2 | 100.00% | MET
12 | JFL-NAG-SSC-SW01 | Nagpur | RACK 1 | 27.15% | BREACH
Showing top 12 of 142 total active switches monitored across all 8 sites.

## Slide 35
APPENDIX — COMPLETE ACCESS POINT (AP) INVENTORY
Wireless Access Point Estate Breakdown
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 35
Aug 2026
# | Access Point ID / Serial | Location / Site | Rack / Controller | Operational Status
1 | JFL-Guwahati-SSC-AP-02 | Guwahati | NA | Monitored Active
2 | JFL-Guwahati-SSC-AP-03 | Guwahati | NA | Monitored Active
3 | JFL-Guwahati-SSC-AP-01 | Guwahati | NA | Monitored Active
4 | JFL-Mohali-SCC-AP12 | Mohali | NA | Monitored Active
5 | JFL-Mohali-SCC-AP04 NEW | Mohali | NA | Monitored Active
6 | JFL-Mohali-SCC-AP15 | Mohali | NA | Monitored Active
7 | JFL-Mohali-SCC-AP10 | Mohali | NA | Monitored Active
8 | JFL-Mohali-SCC-AP06 | Mohali | NA | Monitored Active
9 | JFL-Mohali-SCC-AP07 | Mohali | NA | Monitored Active
10 | JFL-Mohali-SCC-AP11 | Mohali | NA | Monitored Active
11 | JFL-Mohali-SCC-AP02 | Mohali | NA | Monitored Active
12 | JFL-Mohali-SCC-AP03 | Mohali | NA | Monitored Active
Showing top 12 of 224 total wireless access points monitored across all 8 sites.

## Slide 36
APPENDIX — RAW INCIDENT RECORDS LOG
Detailed Master Incident Ticket Audit Log
CONFIDENTIAL — Proactive Data Systems Pvt. Ltd.
Slide 36
Aug 2026
Ticket # | Device / Host | Location | Priority | Status | Root Cause Analysis (RCA)
PRO/INC/56204 | JFL-GNSC-AP28 | Greater Noida | NON-CORE | Closed | Device Power Issues
PRO/INC/56205 | JFL-GNSC-AP27 | Greater Noida | NON-CORE | Closed | Device Power Issues
PRO/INC/56212 | JFL-Mohali-SCC-AP12 | Mohali | NON-CORE | Closed | Device Power Issues
PRO/INC/56214 | JFL-GNSC-AP26 | Greater Noida | NON-CORE | Closed | Device Power Issues
PRO/INC/56215 | JFL-GNSC-AP27 | Greater Noida | NON-CORE | Closed | Device Power Issues
PRO/INC/56221 | JFL-GNSC-AP29 | Greater Noida | NON-CORE | Closed | Device Power Issues
PRO/INC/56220 | JFL-GNSC-AP04 | Greater Noida | NON-CORE | Closed | Device Power Issues
PRO/INC/56229 | JFL-GNMC-NCK-SW-02 | Greater Noida | P3 | Closed | Hardware Component Failures
PRO/INC/56409 | SEC-CAB-SW2 | Bangalore | P4 | Closed | New Configuration
PRO/INC/56422 | STOCK | Bangalore | NON-CORE | Closed | Client Side Activity
PRO/INC/56426 | JFL-GNSC-AP28 | Greater Noida | NON-CORE | Closed | Device Power Issues
PRO/INC/56427 | JFL-GNSC-AP26 | Greater Noida | NON-CORE | Closed | Device Power Issues
Showing top 12 of 171 raw incident records logged during the reporting period. Full audit trail saved in dashboard_data.json.

## Slide 37
Thank You
Proactive Data Systems · www.proactive.co.in
Reporting Period: 1 July 2026 - 31 July 2026
Customer: Jubilant Foodworks Ltd (JFL)
Generated: 13 August 2026
CONFIDENTIAL — This document is intended for authorized recipients only.